## Property Listing
Site Code | Property # | Town | Postal Code | Region | Site Type | Year Built | Sq. Ft | Sq. Meters 0.092903 | Sprinkler Information | Number of Fire Extinguishers | Number of Smoke Detectors | Number of Carbon monoxide Detectors | Number Of Exits | Number of Ramps | Number of Floors
AMAN | 1 | Orangeville | L9W 2K2 | Central | Residential | 1995 | 1642 sq.ft | 152 | N/A | 6 | 13 | 5 | 4 | 0 | 2
AMAR | 2 | Grand Valley | L0N 1G0 | Central | Residential | 1994 | 2360 sq.ft | 219.2511 | Yes, 13R upgraded | 6 | 15 | 3 | 4 | 1 | 3
BCHU | 3 | Brampton | L6V 1G4 | Central | Residential | 1870 | 3400 sq.ft | 315.8702 | Yes, 13D | 10 | 15 | 3 | 6 | 2 | 3
BELW | 4 | West Garafraxa | N0B 1J0 | Central | Residential | 2000 | 5096 sq.ft | 473.5713 | Yes, 13D | 9 | 36 | combo w. smoke | 10 | 1 | 1 +basement
BRAE | 5 | Brampton | L6T 2L5 | Central | Residential | 1964 | 1574 sq.ft | 146.2293 | Yes, 13D | 3 | 16 (11 are dual smoke/carbon and 5 are battery not hardwired) | 12 (11 are duo with smoke and 1 is standard plug in) | 3 | 0 | 3
CERE | 6 | Mississauga | L5R 2S6 | Central | Residential | 1988 | 2325 sq.ft | 215.9995 | Yes | 3 | 7 | 7 | 4 | 0 | 3
CRED | 7 | Orangeville | L9W 4T3 | Central | Residential | 1994 | 2037 sq.ft | 189.2434 | upgrade to NFPA 13R in progress | 4 | 9 | 3 | 3 | 0 | 3
DALZ | 8 | Brampton | L6Z 4N9 | Central | Residential | 1981 | 2033 sq.ft |  | Yes, 13D | 3 | 10 | 3 | 2 | 0 | 3
EABA | 9 | Barrie | L4N 6S7 | Central | Office | N/A | 733 sq.ft | 68.0979 | N/A | 1 | 1 | 1 | 1 | 0 | 1
ELUT | 10 | Grand Valley | L9W 0V9 | Central | Residential | 1993 | 1760 sq.ft | 163.5093 | Yes, 13D | 5 | 11 | combo w. smoke | 6 | 0 | 1 +basement
EMBL | 11 | Brampton | L6X 0E9 | Central | Residential | 1930 | 1374 sq.ft | 127.6487 | N/A | 4 | 6 | 6 | 2 | 1 | 3
EMBS | 12 | Brampton | L6X 0C8 | Central | Residential | 1967 | 1918 sq.ft | 178.188 | N/A | 4 | 6 | 6 | 3 | 0 | 3
ESRC | 13 | Brampton | L6Y 1V7 | Central | Residential | 1920 | 1381 sq.ft | 128.299 | Yes | 3 | 4 | 2 | 3 | 0 | 3
FIFT | 14 | Orangeville | L9W 2E2 | Central | Residential | 1860 | 3717 sq.ft | 345.3205 | Yes, 13D | 4 | 10 | 4 | 4 | 0 | 3
FIRS | 15 | Orangeville | L9W 1H7 | Central | Residential | 1930 | 2564 sq.ft | 179.3028 | Yes, 13D | 5 | 11 | 4 | 3 | 0 | 3
KERR | 16 | Orangeville | L9W 2E4 | Central | Residential | 1991 | 2877 sq.ft | 267.2819 | Yes, 13D | 5 | 12 | 3 | 4 | 0 | 3
LEAD | 17 | Mono | update | Central | Residential | 1959 | 1836 sq. ft | 114.6423 | Yes, 13D | 3 | 7 (only 1 downstairs, may change post renovation) | 3 | 6 (1 more egress to come) | 1 | 2
LISA | 18 | Orangeville | L9W 4P6 | Central | Residential | 1992 | 2521 sq.ft | 185.0628 | Yes, 13D | 4 | 7 | 3 | 3 | 0 | 3
MCLA | 19 | Caledon | L0N 1C0 | Central | Residential | 1963 |  |  | Yes, 13D | 4 | 20 (5 are dual smoke/carbon) | 5 (all duo with smoke) | 7 | 0 | 2
MONO | 20 | Mono | L9W 2Z1 | Central | Residential | 1987 | 1711 sq.ft | 158.957 | Yes, 13D | 4 | 13 | 2 | 3 | 2 | 2
NCRH | 21 | Mono | L9W 5N9 | Central | Residential | 1969 | 1359 sq.ft | 126.2552 | Yes, 13D | 4 | 3 | 3 | 3 | 1 | 2
NEW | 22 | Orangeville | L9W 1K1 | Central | Office | N/A | 5316 sq.ft | 493.8723 |  | 6 | 4 | 2 | 3 | 0 | 2
NEWB | 23 | Brampton | L6S 5L6 | Central | Residential | 1987 | 3500 sq.ft | 325.1605 | Yes, B3 | 3 | 15 | 15 | 3 | 0 | 3
ORAN | 24 | Orangeville | L9W 1N5 | Central | Residential | 1986 | 2032 sq.ft | 188.7789 | N/A | 4 | 6 | 2 (one in basement smoke detectors) | 6 with 1 egress window | 0 | 3
WATS | 25 | Brampton | L6W 1E5 | Central | Residential | 1964 |  |  | Yes | 3 | 8 | 8 | 4 | 0 | 3
WCAD | 26 | Guelph | N1E 2Y1 | Central | Office | N/A | 3100 sq.ft | 287.9993 | Yes | 3 | 2 | 1 | 2 | 1 | 1
WRAD | 27 | Brampton | L7A 1A6 | Central | Office | N/A | 4800 sq.ft | 446 | yes (done by landlord) | 4 | 2 | 0 | 3 | 1 | 1
BALM | 28 | Pickering | L0B 1A0 | East | Residential | 1987 | 2987 sq.ft | 277.5013 | Yes, 13R | 3 | 10 | 10 | 3 | 0 | 2
C149 | 29 | Tweed | K0K 3H0 | East | Residential | 1900 | 1347 sq.ft | 125.1403 | Yes | 3 | 5 | 5 | 2 | 1 | 2
C153 | 30 | Tweed | K0K 3H0 | East | Residential | 1900 | 1415 sq.ft | 131.4577 | Yes | 3 | 5 | 5 | 2 | 1 | 1
COCH | 31 | Whitby | L1N 5J7 | East | Residential | 1970 | 2240 sq.ft | 208.1027 | Yes | 5 | 12 | 3 | 3 | 1 | 3
COLL | 32 | Newmarket | L3Y 8G5 | East | Residential | 1990 | 2957 sq.ft | 274.7142 | Yes, 13D + Alternative Solution | 9 | 16 | 3 | 4 | N/A | 2
DDAY | 33 | Durham | L1J 8P8 | East | Office | N/A | 2695.93 sq.ft | 250.3736 | N/A | 3 | 5 | 1 | 2 | 0 | 1 (unit is on the second floor of a shared building)
DOAN | 34 | East Gwillimbury | L0G 1V0 | East | Residential | 2002 | 2967 sq.ft | 275.6432 | Yes | 7 | 19 | 8 | 5 | 1 | 3
GAVE | 35 | Belleville | K8N 4Z5 | East | Residential | 2007 | 1649 sq.ft | 150.8745 | Yes | 4 | 8 | 8 | 4 | 0 | 1 + basement
GRAY | 36 | Centre Hastings | K0K 2Y0 | East | Residential | 1989 | 1024 sq.ft | 95.1327 | Yes | 3 | 9 | 9 | 3 | 0 | 2
GWIL | 37 | (Mount Albert)East Gwillimbury | L0G 1M0 | East | Residential | N/A |  | 0 | Yes, 13D | 6 | 8 | 9 | 4 | 0 | 2
HEMM | 38 | Whitby | L1R 1E8 | East | Residential | 1986 | 2219 sq.ft | 206.1518 | Yes, 13D | 4 | 13 | 6 | 2 | 1 | 3
HOLB | 39 | (Queensville)East Gwillimbury | L0G 1R0 | East | Residential | 1986 | 2188 sq. ft | 203.2718 | Yes, 13D | 6 | 14 | 5 | 5 | N/A | 1
HOME | 40 | Georgina | L0E 1R0 | East | Residential | 1964 | 2559 sq.ft | 237.7388 | Yes | 7 | 16 | 6 | 6 | N/A | 1
HRMY | 41 | Belleville (Corbyville) | K0K 1V0 | East | Residential | 2004 | 4575 | 179.3028 | to be scheduled | 11 | 27 | 27 | 8 | 0 | 2
MCIN | 42 | Newmarket | L3Y 8B7 | East | Residential | 1988 | 3231 sq.ft | 300.1696 | Yes, 13D + Alternative Solution | 10 | 19 | 3 | 4 | N/A | 2
REID | 43 | Hastings | K0K 2K0 | East | Residential | 1995 | 1590 sq.ft | 147.7158 | Yes | 5 | 15 | 13 | 5 | 0 | 1 + basement
SADM | 44 | Tweed | K0K 3J0 | East | Office |  | 3600 sq.ft. | 203.7363 | Yes | 3 | 3 | 1 | 2 | 0 | 1
SADM | 45 | Belleville | K8P 3Z3 | East | Office | N/A | 500 sq ft | 171.6847 | Yes | 1 | 1 | 1 | 1 | 1 | 2
SIDE | 46 | Bradford | L3Z 2A5 | East | Residential | 1978 |  |  | Yes, 13R | 6 | 7 | 5 | 3 | 0 | 2
SIDY | 47 | Belleville | K8P4X1 | East | Residential | N/A | N/A | N/A | yes | 2 | 2 | 2 | 1 apartment door/ 4 exit from the bottom floor | 0 | 10 apartment building
SYDN | 48 | Belleville | K8P 4X1 | East | Residential | N/A | N/A | N/A | 2 | 3 | 2 | 1 apartment door/ 4 exit from the bottom floor | 0 | 10 apartment building
TCWA | 49 | (Queensville)East Gwillimbury | L0G 1R0 | East | Residential | 1996 |  |  | Yes | 12 | 24 | 6 | 5 | 0 | 2
THOM | 50 | Centre Hastings | K0K 3H0 | East | Residential | 1982 |  |  | Yes, 13R | 6 | 15 | 15 | 3 | 1 | 2
THOM | 51 | Centre Hastings | K0K 3H0 | East | Residential | 1827 |  |  | Yes, 13R | 4 | 7 | 11 | 4 | 0 | 2+ basement
THOM | 52 | Centre Hastings | K0K 3H0 | East | Residential | 1978 |  |  | Yes, 13R | 7 | 19 | 19 | 5 | 0 | 2 + basement
AMOR | 53 | Toronto | M9W 4S4 | Toronto | Residential | 1960 | 1051 sq.ft | 97.6411 | N/A | 2 | 7 | 7 | 2 | 0 | 1
BRID | 54 | Toronto | M1H 2L4 | Toronto | Residential | 1965 | 1237 sq.ft | 114.921 | Yes | 4 | 10 | 8 | 3 | 0 | 3
CHAL | 55 | Toronto | M2J 3V3 | Toronto | Residential | 1971 | 2237 sq.ft | 207.824 | Yes | 4 | 8 | 2 | 3 | 0 | 3
DARC | 56 | Scarborough | M1C 2T5 | Toronto | Residential | 1970 | 1415 sq.ft | 131.4577 | Yes | 4 | 4 | 4 | 3 | 0 | 2
HARV | 57 | Toronto | M6R 1C5 | Toronto | Residential | 1900 | 2103 sq.ft | 195.375 | N/A | 6 | 4 | 9 | 5 | 0 | 4
HOLM | 58 | Toronto | M1C 1V7 | Toronto | Residential | N/A | 1115 sq.ft |  | N/A | 5 | 8 | 4 | 2 plus one egress window | 0 | 2
MALA | 59 | Toronto | M1T 2C7 | Toronto | Residential | 1960 | 2193 sq.ft | 203.7363 | Yes | 4 | 5 | 5 | 2 | 0 | 3
MOUN | 60 | Toronto | M1G 2P2 | Toronto | Residential | 1958 | 1035 sq.ft | 96.1546 | Yes, 13R upgraded | 2 | 6 | 2 | 3 | 0 | 1
NCLF | 61 | Toronto | M6E 3K9 | Toronto | Residential | 1937 | 4006 sq.ft | 372.1694 | Yes | 10 | 22 | 22 | 3 | 0 | 2
NEAP | 62 | Scarborough | M1P 4B1 | Toronto | Residential |  | 1090 sq.ft |  | Yes, 13R | 5 | 9 | 2 | 2 | 0 | 2
RING | 63 | Toronto | M9W 1X3 | Toronto | Residential | 1964 | 1432 sq.ft | 199.5556 | Yes | 2 | 10 | 10 | 3 | 0 | 1
RUSH | 64 | Toronto | M6H 2Z5 | Toronto | Residential | 1890 | 1871 sq.ft | 173.8215 | Yes | 2 | 6 | 8 | 1 | 0 | 2
SHOR | 65 | Toronto | M1G 3T1 | Toronto | Residential | 1972 | 1073 sq.ft | 99.6849 | Yes | 3 | 9 | 9 | 2 | 0 | 2
TABA | 66 | Toronto | M3B 2T5 | Toronto | Office | N/A | 3027 sq.ft | 281.2174 | N/A | 3 | 0 | 0 | 3 | 0 | 1
TABA | 67 | Toronto | M3B 2T5 | Toronto | Office | N/A | N/A | N/A | Yes | 3 | 4 | 3 | 2 | 0 | 1
TADM | 68 | Toronto | M3B 2T5 | Toronto | Office | N/A | 5440 sq.ft | 505.3923 | N/A | 5 | 0 | 0 | 3 | 0 | 1
WELS | 69 | Toronto | M9C 4S7 | Toronto | Residential | N/A |  |  | No | 4 Upper level, 2 Lower level | 5 | 4 | 1 upper level, 2 lower level | 0 | 2 upper level, 2 Lower level