



[image: C:\Users\jennifer.oram\Desktop\Artboard 1 copy 22x100.jpg]
REQUEST FOR PROPOSAL

RFP No. 2620004


Fire Safety Inspections & Maintenance Services


For

FOR KERRY`S PLACE AUTISM SERVICES









Issue Date:  August 21, 2026




Closing Time:  2:00 p.m. Eastern Time on

September 18, 2026

REQUEST FOR PROPOSAL (“RFP”)

RFP #2620004 – Fie Safety Inspections & Maintenance Services


A. [bookmark: _Toc440370139]INTRODUCTION

[bookmark: _Toc440370140]Background

We are Canada’s largest service provider to families with children, youth, and adults with Autism Spectrum Disorder, serving more than 8,000 families and individuals each year.
Since 1974 Kerry’s Place has been creating and providing evidence-based supports and services that enhance the quality of life of those with ASD across Ontario. And with staff of more than 1,100, Kerry’s Place is one of the only organizations in the country that serves the entire life span of those with ASD.
As the prevalence rate of Autism continues to rise, the need for services and supports continue to increase. Kerry’s Place is recognized as a leader nationally and internationally, with service providers seeking our consultation to help with best practice research, training, and service delivery.

Our Vision, Mission & Values
VISION: Persons with Autism are full and equal members of their communities.
MISSION: To enhance the quality of life for persons with Autism by being leaders in:
· Developing and providing evidence-based support; and
· Building capacity by sharing our knowledge and expertise.

VALUES:
· Demonstrating Respect by celebrating diversity, supporting inclusion and advancing the dignity and uniqueness of all persons.
· Empowering Choice by providing opportunities and supporting the right of all persons to make informed decisions.
· Demonstrating Integrity through truthful, accountable and ethical actions and relationships.
· Promoting Collaboration through person-centred care and partnerships, seeking input and valuing diverse perspectives.
· Striving for Excellence through continuous learning and quality improvement.



[bookmark: _Toc440370142]Type of Agreement

The selected Vendor will be expected to enter into an agreement (“Agreement”) as contemplated by the RFP for 3 years plus 3 additional 1-year options should both parties agree. Please see Schedule B for the intended agreement.

[bookmark: _Toc440370144]Objective
Kerry’s Place seeks qualified contractors to provide annual inspection, testing, maintenance, and reporting services for fire protection systems across multiple facilities as per Ontario fire and building code requirements.

B. SCOPE OF SERVICES

Fire Alarm Systems
· Annual inspections
· Sensitivity testing
· Device testing
· Monitoring verification
· Panel testing
· Battery testing/replacement
· Deficiency reporting

Sprinkler Systems
· Annual inspections
· Flow testing
· Backflow testing
· Valve inspections
· Gauge inspections
· Pipe condition assessments

Fire Extinguishers
· Monthly/annual inspections
· Hydrostatic testing
· Recharge services
· Replacement recommendations

Emergency Lighting & Exit Signs
· Monthly/annual testing
· Battery duration testing
· Lamp replacements

Special Suppression Systems
· Clean agent systems
· CO₂ systems 
· Foam systems 


C. APPLICABLE CODES & STANDARDS

Site specific information included in Section 4. Facility Information
In compliance with:

· Ontario Building Code
· Ontario Fire Code

Code & standard for Inspection, Testing and Maintenance (ITM)
For equipment installed at each location as required:
Ontario Fire Code: Part 6, all sections regarding inspection, testing and maintenance of fire protection equipment.
NFPA: Standard for inspection, testing and maintenance of fire protection equipment 10, 17 & 25.
CAN/ULC: Procedures for inspection, testing and maintenance of fire protection equipment S536, S561.

D. FACILITY INFORMATION

It is expected that you are able to service all locations within a region (column D in the below attached) that you are responding for.
Please clearly indicate all regions you are able to service.
Preference will be given to proponents servicing all regions.





E. SERVICE EXPECTATIONS / SLAs 

Required Inspection Frequencies
Portable Extinguishers:
	Service
	Frequency
	Procedure/Standard

	ITM
	Monthly
	NFPA 10 - 18

	ITM
	Annual
	NFPA 10 - 18



Electric Fire Pump:
	Service
	Frequency
	Procedure/Standard

	ITM
	Monthly
	NFPA 25 – 20

	ITM
	Annual
	NFPA 25 - 20



Wet Sprinkler:
	Service
	Frequency
	Procedure/Standard

	ITM
	Monthly
	NFPA 25 – 20

	ITM
	Quarterly	
	NFPA 25 - 20

	ITM
	Semi-Annual
	NFPA 25 - 20

	ITM
	Annual
	NFPA 25 - 20



Emergency Lightning:
	Service
	Frequency
	Procedure/Standard

	ITM
	Monthly
	OFC 2.7.3.3 (1)

	ITM
	Annual
	OFC 2.7.3.3 (5)



Fire Alarm:
	Service
	Frequency
	Procedure/Standard

	ITM
	Monthly
	CAN/ULC S536 - 19

	ITM
	Annual
	CAN/ULC S536 - 19



Fire Suppression Kitchen Hood (commercial cooking system):
	Service
	Frequency
	Procedure/Standard

	ITM
	Semi-Annual
	NFPA 17 – 21



Monitoring:
	Service
	Frequency
	Procedure/Standard

	ITM
	Annual
	CAN/ULC S561 - 13



Operational Expectations:
· Response times for deficiencies 
· Critical deficiencies: response within 4 hours 
· Non-critical deficiencies: response within 48 hours
· Emergency service availability (e.g., 24/7) 
· Maximum repair turnaround
· 24-48 Hours turnaround required, unless otherwise specified 
· Scheduling requirements
· Kerry’s Place Property Maintenance Coordinators will lead planning from Kerry’s Place perspective but as per the schedules provided by vendor 
· After-hours work expectations
· Vendor to reach out to regional on-call based on schedule provided to winning vendor 
· Site access/security procedures 
· Property access will be granted and scheduled through Kerry’s Place maintenance team
· Afterhours access will be authorized by Kerry’s Place on-call personelle

F. DELIVERABLES & REPORTING REQUIREMENTS

Require (please provide samples were applicable)
· Digital inspection reports 
· Deficiency categorization 
· Compliance certificates/tags 
· Repair quotations 
· Photo documentation 
· Asset tracking 
· Service history records 
· Annual summary reports 
· Monthly invoicing per location – breakdown required for all applicable services
Specify:
· Report turnaround time 

G. INSTRUCTIONS TO BIDDERS

Communications during RFP Period

All questions and communications regarding this RFP should be directed to the Bid Administrator.
	
	Jennifer Oram (Bid Administrator)
Procurement Officer
Kerry`s Place Autism Services
17345 Leslie Street, Suite 200
Newmarket, ON L3Y 0A4
Telephone:	(905) 841-6611 ext. 90305
	Facsimile:	(905) 841-6651
	E-mail address: procurement@kerrysplace.org

Closing Date for Submissions of Proposal

To be eligible for consideration in this RFP process, the Vendor’s Proposal must be received by 2:00:00 p.m. Eastern Time on August 18, 2026 (the “Closing Time”) via one of the 2 below options:

Received via email bearing vendor’s name and “RFP#2620004 – Fire Safety Inspections & Maintenance Services” in the subject line at:
procurement@kerrysplace.org

Or

Physical bid should be in a sealed package bearing the Vendor’s name, return address, and RFP # 2620004 – Fire Safety Inspections & Maintenance Services at:

Kerry`s Place Autism Services
17345 Leslie Street, Suite 200
Newmarket, ON L3Y 0A4
Attention:  Jennifer Oram, Procurement Officer

[bookmark: _Toc440370149]Proposal received after the Closing Time

Proposals received after the Closing Time shall not be considered and shall be returned to the Vendor unopened.  Each Vendor is responsible for the actual delivery of its Proposal to the address and location listed above, regardless of whether the Proposal has been given to couriers, delivery services, and Canada Post for delivery to that location.

[bookmark: _Toc440370151]Format

The Proposal should be comprised of and formatted as follows:

· Electronic File titled “Proposal – Excluding Pricing Schedule – includes all items within the Technical Proposal Section
· Electronic File titles “Pricing Schedule” – includes Schedule G

Or
· One (1) original paper copies, in a sealed envelope excluding Pricing Schedule, and clearly identified as “Proposal - Excluding Pricing Schedule”
· [bookmark: _Toc440370160]One (1) original paper copies of the Pricing Schedule, in a sealed envelope clearly identified as “Pricing Schedule” including all required forms & documentation
· One (1) electronic copy, in read only format (on a USB stick in Microsoft Office format) of the “Pricing Schedule” including all required forms & documentation

Right to Cancel the RFP

Kerry’s Place shall have the right to cancel this RFP, at any time, either prior to or after the Closing Time without award.  Thereafter, Kerry’s Place may issue a new tender, RFP, RFQ, sole source or do nothing.  Kerry’s Place shall not be obligated to provide reasons for the cancellation.

Proposal Structure

The individual sections are to be segregated. The Technical Proposal will be evaluated first. If it is found in order, the Price Proposal will be reviewed. The Technical Proposal shall have no direct or indirect reference to any price or financials related to the proposal. Any submissions that are found violating this clause at any stage may be disqualified without further explanation. 

Mandatory Requirements
	Mandatory Criteria
	YES/NO
	Page # of your response that proves Mandatory Criteria

	Minimum 5 years’ proven experience providing fire safety inspections & maintenance services within organizations with 10 or more locations
	
	

	Not a U.S. business as defined in Ontario’s Procurement Restriction Policy (See Schedule A) or commits to have at lease 90% of the required staff to deliver the contracted services located in Canada
	
	





Technical Proposal Requirements
Vendor is to include the proposed approach to the intended scope of services. Proposal MUST include the following:
· Vendor Qualifications
· Corporate Qualifications (in conjunction with Corporate Overview – Schedule C)
· Years in business
· Relevant experience
· Similar client references
· Certifications/licenses
· Insurance coverage
· WSIB/workers compensation compliance (Ontario)
· Safety program documentation

· Technician Qualifications 
· Confirmation of licensed service technicians including but not limited to: fire safety systems.
· Manufacturer certifications

· Have you worked in a Group Home environment previously, if so include scope of project.
· Who will the project manager be?
· Provide understanding and examples/samples (where applicable) of each of the following sections:
· Scope of Services
· Applicable Codes and Standards
· Service Expectations / SLA’s
· Deliverables & Reporting Requirements
[bookmark: _Toc326152764]
Vendor shall also include within their proposal:
U.S. Declaration Form – Schedule A
Corporate Overview – Schedule C
Agents / Subcontractors Form – Schedule D
[bookmark: _Toc326152778]Declaration of Conflict Statement – Schedule E
[bookmark: _Toc326152777]Vendor References – Schedule F
Applicable Certifications
[bookmark: _Toc309974743][bookmark: _Toc325963290][bookmark: _Toc326152782]Liability Insurance	


The Vendor shall provide proof and maintain insurance and pay such assessments as will protect him/her, including Sub Contractors and Kerry’s Place from any claims under WSIB and from other claims for damage which may arise from operations under this Agreement including: 
a) Comprehensive public liability and property damage insurance providing coverage up to $5,000,000.00 (Five Million Dollars) inclusive against liability for bodily injury or death on a per occurrence basis or damage to property. Such insurance shall include Kerry’s Place as additional insured. Vendors that do not currently comply with the above insurance coverage should include in their quote a cost to provide the coverage requested.
b) Automotive insurance for public liability and property damage providing coverage up to $2,000,000.00 (one million) inclusive for each accident, on owned, non-owned or hired vehicle.

 The Vendor is required to provide a “WSIB Certificate of Clearance”, or in cases of an independent operator, a “WSIB Letter of Proof” confirming their status as such. In cases of the Vendor being an independent operator and written proof of such has been received by Kerry’s Place, the Vendor will be required to sign a “Liability Waiver”.

IT SHALL BE THE SOLE RESPONSIBILITY OF THE VENDOR TO DETERMINE WHAT ADDITIONAL INSURANCE COVERAGE, IF ANY, IS NECESSARY AND ADVISABLE FOR ITS OWN PROTECTION AND/OR TO FULFIL ITS OBLIGATIONS UNDER THIS AGREEMENT. ANY SUCH ADDITIONAL INSURANCE SHALL BE PROVIDED AND MAINTAINED BY THE VENDOR AT ITS OWN EXPENSE.


Pricing Proposal Requirements
Completed Schedule G – Price Form & Spreadsheet
a. Pricing assumptions should be clearly stated.
b. Pricing is to include ‘everything necessary’ to have the service completed. If a price element is required but has not been specifically requested in this document, proponents are required to include the element and clearly note it.
c. Prices should be quoted in Canadian dollars and should include any customs duties or tariffs, overhead, profit, insurance, and warranties.  All prices/fees should be quoted exclusive of the goods and services tax and federal or provincial taxes or other similar taxes, each of which, if applicable, should be stated separately.  In the event of any discrepancies in the pricing, the lowest price submitted shall prevail.
d. Specify any additional charges for ‘out-of-scope work.


H. EVALUATION PROCESS

The objective of the evaluation process is to identify the Proposal(s) that most effectively meet the requirements of this RFP leading to the determination of the Proposal that provides the best overall value for Kerry’s Place.

The steps in the RFP evaluation process are as follows:

1) Evaluation of Technical Requirements.
2) Evaluation of Pricing

[bookmark: _Toc440370216]Weighted Evaluation Criteria  

	Evaluation Criteria
	Weighting

	Business/Corporate Profile 
	10

	Ontario Business – Canadian Business
	10

	Technical Proposal
	35

	Vendor References (Schedule F)
	10

	Cost Proposal (Schedule G)
	35

	Total:
	100%



Financial Evaluation

The financial proposal is evaluated on the basis of its response to the Price Schedule G. The maximum number of points for price is 40. The maximum number of points will be allocated to the lowest price. All other proposals will receive points in inverse proportion according to the following formula:

Price offer points for a				[Max number of points for the Price Offer] x [Lowest price]
Proposal being evaluated		=			[Price offer being evaluated]


[bookmark: _Toc26527551]SELECTION MILESTONES

	Event
	Date

	RFP issued to Vendors
	August 21, 2026

	Vendor questions to be received in writing
	September 4, 2026

	Submission of Proposals/Closing Time
	September 18, 2026

	Election to proceed and selection of Vendor(s)
	October, 2026

	Anticipated agreement start date
	October, 2026

	Notification to unsuccessful Vendor or Vendor(s)
	October, 2026



The above dates are subject to change at the sole discretion of Kerry’s Place.  All times are shown as Eastern Time.  In the event a change is made to these dates, the Vendors that have completed the Receipt of Confirmation Form will be informed by addenda.


SCHEDULE A: U.S. BUSINESS DECLARATION FORM

In response to the government of Ontario’s Procurement Restriction Policy we are asking all our active suppliers to provide a declaration on whether they are a United States (U.S.) business.

A U.S. business means a supplier, manufacturer or distributor of any business structure (includes a sole proprietorship, partnership, corporation or other business structure) that:

1. has its headquarters or main office located in the U.S.*, and
2. has fewer than 250 full-time employees in Canada.

*if your business is a subsidiary of another corporation, part 1 of the definition above is met if that corporation has its headquarters or main office located in the U.S.

We require this completed form prior to continuing business.


	Vendor Name:
	
	
	

	Are you a U.S. business, according to definition above?
	
	
	YES                                  NO

	Name of Signing Officer:
	
	
	

	Signature of Signing Officer:
	
	
	

	Position Title:
	
	
	




SCHEDULE B: AGREEMENT


Intended Agreement:



[bookmark: _Toc303751209][bookmark: _Toc309974816][bookmark: _Toc325963360]

SCHEDULE C: ORGANIZATION OVERVIEW

THIS SECTION SHOULD BE COMPLETED BY ALL VENDORS 
Vendor Name:	___________________________________________________
Service Capability 
This section requests specific information from Vendors about their operations as it relates to their ability to provide service.  Please list any assumptions you make when responding to questions.



	Item
	Vendor Response

	Legal Name
	

	
	

	Quality Certifications
	

	Areas of expertise
	

	Number of years in business
	

	Current number of  support personnel
	

	Where is your current support personnel located?
	

	Is your company or division currently going through acquisition, bankruptcy or restructuring?
	

	Provide an overview of your organization & the services you provide.
	

	Provide details of any project that you have completed similar to the scopes provided within this RFP. Provide multiple examples if applicable.
	




SCHEDULE D: AGENTS/ SUBCONTRACTORS FORM

THIS SECTION MUST BE COMPLETED BY ALL VENDORS

The Vendors shall indicate whether the Vendor intends to use agents or subcontractors to perform the services outlined in the Agreement and shall provide details on who they are and the service(s) the agent/subcontractor shall perform. The Contractor shall preserve and protect the rights of the parties under the Contract with respect to work to be performed under subcontract, and shall: .1 enter into contracts or written agreements with Subcontractors and Suppliers to require them to perform their work as provided in the Contract Documents; .2 incorporate the terms and conditions of the Contract Documents into all contracts or written agreements with Subcontractors and Suppliers; and .3 be as fully responsible to the Owner for acts and omissions of Subcontractors, Suppliers and of persons directly or indirectly employed by them as for acts and omissions of persons directly employed by the Contractor. 
If the Vendor is not using agents or subcontractors on this RFP, the Vendor should initial beside “not applicable”.


	Agent/ Subcontractor #1
	Vendor Response

	Company Name
	

	Address
	

	Service to be performed:

	



	Agent/ Subcontractor #2
	Vendor Response

	Company Name
	

	Address
	

	Service to be performed:

	




Not Applicable ________________

	Vendor  Name
	

	Authorized Signature 
	

	Name (please print):
	

	Position:
	

	Date: 
	





[bookmark: _Toc440370247]SCHEDULE E: DECLARATION OF CONFLICT STATEMENT


Please identify any person(s) employed by Kerry’s Place or a member of Kerry’s Place staff that:

a) Has direct or indirect financial interest in the award of an Agreement resulting from this RFP;
b) Is currently employed by, or is a consultant to, or under Agreement to the Vendor;
c) Is negotiating or has an arrangement concerning future employment or contracting with the Vendor, or;
d) Has an ownership interest in, or is an officer or director of the Vendor

RE: RFP #2620004 – Fire Safety Inspections & Maintenance Services

Names: ___________________________________________________________________________.


Please check your answer
	I/We declare
	A conflict of Interest 
	|_|
	  NO conflict of interest
	|_|
		

	
	
	

	(Company Name
	
	(Name – Please Print)

	
	
	

	(Phone)
	
	(Representative’s Signature)

	
	
	

	(Email)
	
	(Title)

	
	
	

	
	
	(Date)

	
	
	


[bookmark: _Toc303580095][bookmark: _Toc303751208][bookmark: _Toc309974815][bookmark: _Toc325963359]

[bookmark: _Toc303580096][bookmark: _Toc303751210][bookmark: _Toc309974817][bookmark: _Toc325963361][bookmark: _Toc440370250]SCHEDULE F: VENDOR REFERENCES FORM

Vendor Name:	___________________________________________________
Vendors are requested to provide a minimum of three (3) references that are currently operating the proposed solution in a similar environment. Reference sites should be similar in focus, size and complexity to the Kerry’s Place proposed environment and preferably in Ontario. Please fill out the table as completely as possible.  

	Reference 1
	Vendor Response

	Facility Name
	

	Address
	

	Number of years’ service provided
	

	Contact Information
 (Name/title/Phone/E-mail):
	







	Reference 2
	Vendor Response

	Facility Name
	

	Address
	

	Number of years’ service provided
	

	Contact Information
 (Name/title/Phone/E-mail):
	







	Reference 3
	Vendor Response

	Facility Name
	

	Address
	

	Number of years’ service provided
	

	Contact Information
 (Name/title/Phone/E-mail):
	






SCHEDULE G: PRICE FORM

All prices are to be quoted in Canadian dollars, and HST is to be shown separately. Please state all costs clearly and completely; Kerry’s Place will not accept nor pay any hidden costs or costs not disclosed in response to this RFP.

Pricing will need to address the following:
1. Cost of routine inspections as per NFPA requirements, Ontario Fire Code & CAN-ULC (please list all based on the property on the attached excel sheet – 1 worksheet per property – property # listed in column B).

Proponents should clearly identify the applicable hourly labour rates, material mark-ups, minimum charges, and call-out fees.




2. Additional Fees not previously listed

	 
	Description
	Services Fee Amount
	HST
	Total CAD

	Detail Listing of any other expenses or fees
	 
	 
	 
	 



No extra costs to this contract are to be incurred unless authorized in writing by the CFO of Kerry’s Place.

Signature of bidder ______________________________________________

Name and title _________________________________________________
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Fire Inspection  Requirements.xlsx


Fire Inspection Requirements.xlsx
Property Listing

		Site Code		Property #		Town		Postal Code		Region		Site Type		Year Built
		Sq. Ft		Sq. Meters
0.092903		Sprinkler Information		Number of Fire Extinguishers 		Number of Smoke Detectors		Number of Carbon monoxide Detectors		Number Of Exits 		Number of Ramps		Number of Floors

		AMAN		1		Orangeville		L9W 2K2		Central		Residential		1995		1642 sq.ft		152		N/A		6		13		5		4		0		2

		AMAR		2		Grand Valley		L0N 1G0		Central		Residential		1994		2360 sq.ft		219		Yes, 13R upgraded		6		15		3		4		1		3

		BCHU		3		Brampton		L6V 1G4		Central		Residential		1870		3400 sq.ft		316		Yes, 13D		10		15		3		6		2		3

		BELW		4		West Garafraxa		N0B 1J0		Central		Residential		2000		5096 sq.ft		474		Yes, 13D		9		36		combo w. smoke		10		1		1 +basement

		BRAE		5		Brampton		L6T 2L5		Central		Residential		1964		1574 sq.ft		146		Yes, 13D		3		16 (11 are dual smoke/carbon and 5 are battery not hardwired)		12 (11 are duo with smoke and 1 is standard plug in)		3		0		3

		CERE		6		Mississauga		L5R 2S6		Central		Residential		1988		2325 sq.ft		216		Yes		3		7		7		4		0		3

		CRED		7		Orangeville		L9W 4T3		Central		Residential		1994		2037 sq.ft		189		upgrade to NFPA 13R in progress		4		9		3		3		0		3

		DALZ		8		Brampton		L6Z 4N9		Central		Residential		1981		2033 sq.ft				Yes, 13D		3		10		3		2		0		3

		EABA		9		Barrie		L4N 6S7		Central		Office		N/A		733 sq.ft		68		N/A		1		1		1		1		0		1

		ELUT		10		Grand Valley		L9W 0V9		Central		Residential		1993		1760 sq.ft		164		Yes, 13D		5		11		combo w. smoke		6		0		1 +basement

		EMBL		11		Brampton		L6X 0E9		Central		Residential		1930		1374 sq.ft		128		N/A		4		6		6		2		1		3

		EMBS		12		Brampton		L6X 0C8		Central		Residential		1967		1918 sq.ft		178		N/A		4		6		6		3		0		3

		ESRC		13		Brampton		L6Y 1V7		Central		Residential		1920		1381 sq.ft		128		Yes		3		4		2		3		0		3

		FIFT		14		Orangeville		L9W 2E2		Central		Residential		1860		3717 sq.ft		345		Yes, 13D		4		10		4		4		0		3

		FIRS		15		Orangeville		L9W 1H7		Central		Residential		1930		2564 sq.ft		179		Yes, 13D		5		11		4		3		0		3

		KERR		16		Orangeville		L9W 2E4		Central		Residential		1991		2877 sq.ft		267		Yes, 13D		5		12		3		4		0		3

		LEAD		17		Mono		update		Central		Residential		1959		1836 sq. ft		115		Yes, 13D		3		7 (only 1 downstairs, may change post renovation)		3		6 (1 more egress to come)		1		2

		LISA		18		Orangeville		L9W 4P6		Central		Residential		1992		2521 sq.ft		185		Yes, 13D		4		7		3		3		0		3

		MCLA		19		Caledon		L0N 1C0		Central		Residential		1963						Yes, 13D		4		20 (5 are dual smoke/carbon)		5 (all duo with smoke)		7		0		2

		MONO		20		Mono		L9W 2Z1		Central		Residential		1987		1711 sq.ft		159		Yes, 13D		4		13		2		3		2		2

		NCRH		21		Mono		L9W 5N9		Central		Residential		1969		1359 sq.ft		126		Yes, 13D		4		3		3		3		1		2

		NEW		22		Orangeville		L9W 1K1		Central		Office		N/A		5316 sq.ft		494				6		4		2		3		0		2

		NEWB		23		Brampton		L6S 5L6		Central		Residential		1987		3500 sq.ft		325		Yes, B3		3		15		15		3		0		3

		ORAN		24		Orangeville		L9W 1N5		Central		Residential		1986		2032 sq.ft		189		N/A		4		6		2 (one in basement smoke detectors)		6 with 1 egress window		0		3

		WATS		25		Brampton		L6W 1E5		Central		Residential		1964						Yes		3		8		8		4		0		3

		WCAD		26		Guelph		N1E 2Y1		Central		Office		N/A		3100 sq.ft		288		Yes		3		2		1		2		1		1

		WRAD		27		Brampton		L7A 1A6		Central		Office		N/A		4800 sq.ft		446		yes (done by landlord)		4		2		0		3		1		1

		BALM		28		Pickering		L0B 1A0		East   		Residential		1987		2987 sq.ft		278		Yes, 13R		3		10		10		3		0		2

		C149		29		Tweed		K0K 3H0		East   		Residential		1900		1347 sq.ft		125		Yes		3		5		5		2		1		2

		C153		30		Tweed		K0K 3H0		East   		Residential		1900		1415 sq.ft		131		Yes		3		5		5		2		1		1

		COCH		31		Whitby		L1N 5J7		East   		Residential		1970		2240 sq.ft		208		Yes		5		12		3		3		1		3

		COLL		32		Newmarket		L3Y 8G5		East   		Residential		1990		2957 sq.ft		275		Yes, 13D + Alternative Solution		9		16		3		4		N/A		2

		DDAY           		33		Durham		L1J 8P8		East   		Office		N/A		2695.93 sq.ft		250		N/A		3		5		1		2		0		1 (unit is on the second floor of a shared building)

		DOAN		34		East Gwillimbury		L0G 1V0		East   		Residential		2002		2967 sq.ft		276		Yes		7		19		8		5		1		3

		GAVE		35		Belleville		K8N 4Z5		East   		Residential		2007		1649 sq.ft		151		Yes		4		8		8		4		0		1 + basement

		GRAY		36		Centre Hastings		K0K 2Y0		East   		Residential		1989		1024 sq.ft		95		Yes		3		9		9		3		0		2

		GWIL		37		(Mount Albert)East Gwillimbury		L0G 1M0		East   		Residential		N/A				0		Yes, 13D		6		8		9		4		0		2

		HEMM		38		Whitby		L1R 1E8		East   		Residential		1986		2219 sq.ft		206		Yes, 13D		4		13		6		2		1		3

		HOLB		39		(Queensville)East Gwillimbury		L0G 1R0		East   		Residential		1986		2188 sq. ft		203		Yes, 13D		6		14		5		5		N/A		1

		HOME		40		Georgina		L0E 1R0		East   		Residential		1964		2559 sq.ft		238		Yes		7		16		6		6		N/A		1

		HRMY		41		Belleville (Corbyville)		K0K 1V0		East   		Residential		2004		4,575		179		to be scheduled		11		27		27		8		0		2

		MCIN		42		Newmarket		L3Y 8B7		East   		Residential		1988		3231 sq.ft		300		Yes, 13D + Alternative Solution		10		19		3		4		N/A		2

		REID		43		Hastings		K0K 2K0		East   		Residential		1995		1590 sq.ft		148		Yes		5		15		13		5		0		1 + basement

		SADM		44		Tweed		K0K 3J0		East   		Office				3600 sq.ft.		204		Yes		3		3		1		2		0		1

		SADM		45		Belleville		K8P 3Z3		East   		Office		N/A		500 sq ft		172		Yes		1		1		1		1		1		2

		SIDE 		46		Bradford		L3Z 2A5		East   		Residential		1978						Yes, 13R		6		7		5		3		0		2

		SIDY		47		Belleville		K8P4X1		East   		Residential		N/A		N/A		N/A		yes 		2		2		2		1 apartment door/ 4 exit from the bottom floor 		0		10 apartment building

		SYDN           		48		Belleville		K8P 4X1		East   		Residential		N/A		N/A		N/A		2		3		2		1 apartment door/ 4 exit from the bottom floor 		0		10 apartment building

		TCWA		49		(Queensville)East Gwillimbury		L0G 1R0		East   		Residential		1996						Yes		12		24		6		5		0		2

		THOM		50		Centre Hastings		K0K 3H0		East   		Residential		1982						Yes, 13R		6		15		15		3		1		2

		THOM		51		Centre Hastings		K0K 3H0		East   		Residential		1827						Yes, 13R		4		7		11		4		0		2+ basement

		THOM		52		Centre Hastings		K0K 3H0		East   		Residential		1978						Yes, 13R		7		19		19		5		0		2 + basement

		AMOR		53		Toronto		M9W 4S4		Toronto		Residential		1960		1051 sq.ft		98		N/A		2		7		7		2		0		1

		BRID		54		Toronto		M1H 2L4		Toronto		Residential		1965		1237 sq.ft		115		Yes		4		10		8		3		0		3

		CHAL		55		Toronto		M2J 3V3		Toronto		Residential		1971		2237 sq.ft		208		Yes		4		8		2		3		0		3

		DARC		56		Scarborough		M1C 2T5		Toronto		Residential		1970		1415 sq.ft		131		Yes		4		4		4		3		0		2

		HARV		57		Toronto		M6R 1C5		Toronto		Residential		1900		2103 sq.ft		195		N/A		6		4		9		5		0		4

		HOLM		58		Toronto		M1C 1V7		Toronto		Residential		N/A		1115 sq.ft				N/A		5		8		4		2 plus one egress window		0		2

		MALA		59		Toronto		M1T 2C7		Toronto		Residential		1960		2193 sq.ft		204		Yes 		4		5		5		2		0		3

		MOUN           		60		Toronto		M1G 2P2		Toronto		Residential		1958		1035 sq.ft		96		Yes, 13R upgraded		2		6		2		3		0		1

		NCLF		61		Toronto		M6E 3K9		Toronto		Residential		1937		4006 sq.ft		372		Yes		10		22		22		3		0		2

		NEAP		62		Scarborough		M1P 4B1		Toronto		Residential				1090 sq.ft				Yes, 13R		5		9		2		2		0		2

		RING		63		Toronto		M9W 1X3		Toronto		Residential		1964		1432 sq.ft		200		Yes		2		10		10		3		0		1

		RUSH		64		Toronto		M6H 2Z5		Toronto		Residential		1890		1871 sq.ft		174		Yes		2		6		8		1		0		2

		SHOR		65		Toronto		M1G 3T1		Toronto		Residential		1972		1073 sq.ft		100		Yes		3		9		9		2		0		2

		TABA           		66		Toronto		M3B 2T5		Toronto		Office		N/A		3027 sq.ft		281		N/A		3		0		0		3		0		1

		TABA           		67		Toronto		M3B 2T5		Toronto		Office		N/A 		N/A 		N/A		Yes 		3		4		3		2		0		1

		TADM           		68		Toronto		M3B 2T5		Toronto		Office		N/A		5440 sq.ft		505		N/A		5		0		0		3		0		1

		WELS		69		Toronto		M9C 4S7		Toronto		Residential		N/A						No		4 Upper level, 2 Lower level		5		4		1 upper level, 2 lower level		0		2 upper level, 2 Lower level
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SERVICES Agreement

THIS AGREEMENT (“Agreement”) is made as of [Insert date], between [Insert legal name of Purchaser], with an office at [Insert address] (the “Purchaser”) and [Insert legal name of supplier] with an office at [Insert address] (the “Supplier”).

WHEREAS the Supplier and the Purchaser were able to agree on the terms and conditions of this Agreement; 

NOW THEREFORE, for good and valuable consideration, the parties hereto agree as follows:

[bookmark: _Toc239152729][bookmark: _Ref239425508][bookmark: _Ref239425512][bookmark: _Toc322650990]Interpretation

[bookmark: _Toc239152730][bookmark: _Toc322650991]Definitions

In this Agreement, unless the context otherwise requires, the following terms have the meanings indicated below:

“Business Day” or “Business Days” means Monday to Friday between the hours of 8:30 a.m. to 4:30 p.m., except when such a day is a public holiday, as defined in the Employment Standards Act (Ontario) or as otherwise agreed to by the parties in writing.

“Days” means calendar days.

(a) “Deliverables” means all services and work to be provided or performed by the Supplier, under the Agreement, and includes everything that is necessary to be supplied, done, or delivered by the Supplier.

“Effective Date” means the date that this Agreement is made, as first shown above.

“Event of Force Majeure” means any cause beyond the reasonable control of a party to this Agreement, including any act of God, outbreak, or epidemic of any kind, communicable and virulent disease, strike, flood, fire, embargo, boycott, act of terrorism, insurrection, war, explosion, civil disturbance, shortage of gas, fuel or electricity, interruption of transportation, governmental order, unavoidable accident, or shortage of labour or raw materials.

(b) “FIPPA” means the Freedom of Information and Protection of Privacy Act (Ontario).

(c) “Governmental Authorities” means governments, regulatory authorities, governmental departments, agencies, agents, commissions, bureaus, officials, ministers, Crown corporations, courts, bodies, boards, tribunals, or dispute settlement panels or other law, rule, or regulation-making organizations or entities having or purporting to have jurisdiction on behalf of any nation, province, territory, state, or other geographic or political subdivision thereof; or exercising, or entitled or purporting to exercise any administrative, executive, judicial, legislative, policy, regulatory, or taxing authority or power, and includes the MOHLTC and Health Canada.

(d) “Indemnitees” means the Purchaser and its officers, directors, agents, employees, or physicians.

(e) “Intellectual Property Rights” includes any proprietary rights provided under: (i) patent law; (ii) copyright law (including moral rights); (iii) trade-mark law; (iv) design patent or industrial design law; (v) semi-conductor chip or mask work law; or (vi) any other statutory provision or common law principle applicable to this Agreement, including trade secret law, or the expression or use of same; or any applications, registrations, licenses, sub-licenses, franchises, agreements or any other evidence of a right in any of the foregoing;

(f) “Personal Information” means recorded information about an identifiable individual or that may identify an individual (including PHI), but does not include the name, title, contact information or designation of an individual that identifies the individual in a business, professional or official capacity.

(g) “PHI” means personal health information as defined in the Personal Health Information Protection Act, 2004 (Ontario).

(h) “PIPEDA” means the Personal Information Protection and Electronic Documents Act (Canada).

“Privacy Office” if applicable means the privacy office of the Purchaser.

“Purchase Price” means the price set out in Section 4.1 (Purchase Price).

“Purchasing Organization” means the organization that conducted the procurement process on behalf of the Purchaser, if applicable.

(i) “Services” means the services described in the Agreement and the Services and Prices Schedule.

“Supplier Materials” means the materials and information possessed by the Supplier prior to the commencement of the Supplier’s delivery of the Services, or acquired by the Supplier during the performance of the Services, except to the extent that such materials and information: (i) were developed or acquired (whether alone or jointly with others) specifically and exclusively for the Purchaser in connection with the Services; or (ii) were provided to the Supplier by the Purchaser, whether directly or indirectly.

“Supplier’s Personnel” means the Supplier’s employees, agents, representatives, and subcontractors who are listed in the Personnel Schedule.

“Supplier Project Manager” means the manager designated in accordance with Section 2.2 (Supplier Project Manager).

“Term” means the effective period of the Agreement as set out in Section 6.1 (Term).

[bookmark: _Toc239152731][bookmark: _Toc322650992]Schedules

The following Schedules are attached to and form an integral part of this Agreement:

Supplier’s Proposal Schedule;

Personnel Schedule;

Services and Prices Schedule; and

Information Practices Schedule.

[bookmark: _Toc239152733][bookmark: _Toc322650993][bookmark: _Ref140395419][bookmark: _Ref140395422]Order of Precedence

In the event of any conflict or inconsistency in the Agreement, the following is the order of precedence of documents comprising this Agreement:

Article 1 to Article 7 of this Agreement;

the Schedules annexed to this Agreement, except for the Supplier’s Proposal Schedule; and

the Supplier’s Proposal Schedule.

[bookmark: _Toc239223148][bookmark: _Toc257994309][bookmark: _Toc322650994]Rules of Interpretation

This Agreement shall be interpreted according to the following provisions, unless the context requires a different meaning:

Unless the context otherwise requires, wherever used herein the plural includes the singular, the singular includes the plural, and each of the masculine and feminine includes the other gender.

Words in the Agreement shall bear their natural meaning.

References containing terms such as “includes” and “including”, whether or not used with the words “without limitation” or “but not limited to”, shall not be deemed limited by the specific enumeration of items but shall, in all cases, be deemed to be without limitation and construed and interpreted to mean “includes without limitation” and “including without limitation”.

In construing the Agreement, general words introduced or followed by the word “other” or “including” or “in particular” shall not be given a restrictive meaning because they are followed or preceded (as the case may be) by particular examples intended to fall within the meaning of the general words.

[bookmark: _Toc322650995][bookmark: _Ref420679255]Supplier Management

1.2 [bookmark: _Toc140650751][bookmark: _Toc152576280][bookmark: _Toc198536670][bookmark: _Toc256363430][bookmark: _Toc322650996][bookmark: _Ref140395244][bookmark: _Ref140395250][bookmark: _Toc239152743][bookmark: _Ref256946448][bookmark: _Ref256946458]General

The Supplier agrees to provide the Services in accordance with the requirements of the Agreement. The Supplier shall be responsible to the Purchaser for the acts and omissions of the Supplier’s Personnel.

[bookmark: _Ref257016213][bookmark: _Ref257016228][bookmark: _Toc322650997]Supplier Project Manager

[Optional – if removing, remove references to the Supplier Project Manager throughout the document]

[bookmark: _Toc140650753][bookmark: _Toc152576282][bookmark: _Toc198536672][bookmark: _Toc256363432][bookmark: _Ref322018259][bookmark: _Ref140395303][bookmark: _Ref140395308][bookmark: _Ref140395751][bookmark: _Ref140395759][bookmark: _Toc239152754]The Supplier shall promptly designate a Supplier Project Manager (subject to the prior approval of the Purchaser) who shall have the required skills and capabilities to adequately perform the role, and shall be fully authorized to make decisions and otherwise deal with the Purchaser in an effective and timely manner in respect of all matters under the Agreement. The Supplier Project Manager shall:

(a) be responsible for co-coordinating the provision of the Services with the Purchaser;

(b) ensure that the Supplier’s obligations are completed in an efficient and timely manner; and

(c) be readily available to the Purchaser by telephone and electronic communication during hours mutually agreed upon in writing regarding this Agreement, including, without limitation, responding to requests, queries, and complaints from the Purchaser.

1.3 [bookmark: _Toc322650998]Personnel 

The Services shall be provided by the Supplier’s Personnel, who shall function under the direction and control of the Supplier’s Project Manager. The Supplier shall ensure that the Supplier’s Personnel:



only perform activities in relation to the Services that are specifically assigned to them in the Personnel Schedule or as otherwise agreed by the parties in writing; and

have the professional designations and credentials required to provide the Services.

The Supplier shall not substitute alternates for any Supplier’s Personnel without the prior consent of the Purchaser, which consent shall not be unreasonably withheld.

[bookmark: _Ref257016399][bookmark: _Ref257016411][bookmark: _Ref257016509][bookmark: _Ref257016519][bookmark: _Ref257016642][bookmark: _Ref257016651][bookmark: _Toc322650999]Changes to Schedules

The Purchaser shall be entitled to make changes to the schedules at any time provided that:

any such change shall be set out in writing and delivered to the Supplier; and

where any such change results in an increase or decrease in the cost or time required for the delivery of the Services or performance of any requirement of this Agreement, an equitable adjustment shall be made to the Purchase Price or to the delivery date, or to both, provided that such adjustment is agreed to by the parties in writing.

[bookmark: _Toc239152756][bookmark: _Toc322651000]Services

[bookmark: _Toc239152757][bookmark: _Ref322018252][bookmark: _Toc322651001]General

The Services to be performed by the Supplier under this Agreement shall be performed by the Supplier in a professional manner. 

1.4 [bookmark: _Toc140650757][bookmark: _Toc152576286][bookmark: _Toc198536676][bookmark: _Toc256363436][bookmark: _Toc322651002][bookmark: _Toc239152767]Regular Hours

[bookmark: _Toc140650758]All Services shall be performed during regular hours or hours mutually agreed upon in writing. Overtime hours, pre-approved in writing by the Purchaser, shall be billed as set out in the Services and Prices Schedule. 

1.5 Service Levels

Without limiting the requirements otherwise set forth in this Agreement, at all times during the Term, the Supplier will perform the Services so as to meet or exceed the performance standards and requirements applicable to the provision of the Services and delivery of Deliverables by the Supplier.

If the Supplier fails to meet a Service Level, the Supplier will: (i) investigate, assemble and preserve pertinent information with respect to, and report on the causes of, the problem; (ii) advise the Customer of the status of remedial efforts being undertaken with respect to such problem; (iii) notify the Customer of the steps which the Supplier believes should be taken to correct the problem, including where additional Supplier’s Personnel may be required; (iv) promptly correct the problem and begin meeting the Service Levels; (v) take appropriate preventative measures so that the problem does not recur; and (vi) credit to the Purchaser any agreed amounts for failing to meet such Service Level, if any. 

The Supplier will deliver to the Customer on a monthly basis detailed and complete reports (including, at the Customer’s request, executive summaries and associated raw data upon which such reports are based) sufficient to enable the Customer to: (i) compare the Supplier’s actual performance against that specified in each of the Service Levels; and (ii) confirm the calculation and reconciliation of Service Level credits, if any.

1.6 [bookmark: _Toc152576287][bookmark: _Toc198536677][bookmark: _Toc256363437][bookmark: _Toc322651003]Additional Services

Services not described in the Agreement shall be performed only upon receipt of the Purchaser’s written authorization.

1.7 [bookmark: _Toc140650759][bookmark: _Toc152576288][bookmark: _Toc198536678][bookmark: _Toc256363438][bookmark: _Toc322651004]Purchaser Assistance 

[Optional – if Services are on-site]



The Purchaser agrees to:



provide equipment areas and remove any equipment, stock, fixtures, or partitions needed to facilitate the Services; and 

extend to the Supplier’s Personnel any facilities at the Purchaser’s premises that are necessary for the completion of the Services.

1.8 [bookmark: _Toc256363439][bookmark: _Toc322651005][bookmark: _Toc140650761][bookmark: _Toc152576290][bookmark: _Toc198536680]Finalization of Services 

[bookmark: _Ref322014028]If any part of the Services provided are not acceptable in the Purchaser’s sole discretion, the Purchaser shall provide written notice to the Supplier, which notice shall explain the deficiency(ies) in the Services.

[bookmark: _Ref322014083]Upon receiving such notice, the Supplier shall take immediate corrective action and remedy the deficiency(ies) within 10 Days. 

Where the Supplier’s attempt to correct such deficiency(ies) is unsuccessful, in the Purchaser’s sole discretion, the Purchaser may:

provide written notice to the Supplier in accordance with 3.5(a) and give the Supplier the opportunity to remedy the deficiency or deficiencies pursuant to 3.5(b); or

terminate the Agreement in accordance with the provisions set forth in Article 6 (Term and Termination).

1.9 [bookmark: _Toc140650762][bookmark: _Toc152576291][bookmark: _Toc198536681][bookmark: _Toc256363440][bookmark: _Ref257012548][bookmark: _Toc322651006]Reports 

At the request of the Purchaser, the Supplier shall deliver to the Purchaser operational progress reports throughout the Term and a final report, all such reports to be in a mutually agreed upon format. Such reports, which shall be considered to form an integral part of the Services, may include, but are not limited to, the following:



[Choose one or all of the following reports, or create a list of the reports that are needed. 



·	Daily/Weekly/Monthly Progress/Status Report

·	Daily/Weekly/Monthly Cost/Budget Report

·	Daily/Weekly/Monthly Personnel Report]

1.10 [bookmark: _Toc140650763][bookmark: _Ref140905021][bookmark: _Ref140905026][bookmark: _Toc152576292][bookmark: _Toc198536682][bookmark: _Toc256363441][bookmark: _Ref257012591][bookmark: _Toc322651007]Ownership of Deliverables 

[This section 3.7 is optional and depends on the Services being contracted for.]

1.10.1 [bookmark: _Toc140650764][bookmark: _Ref140905042][bookmark: _Ref140905049][bookmark: _Toc152576293][bookmark: _Toc198536683][bookmark: _Ref420592708]General

Except in respect of Supplier Materials (the licensing of which is set out in Section 3.7.1(b)), all Intellectual Property Rights in and to all Deliverables shall be and hereby are assigned to the Purchaser and the Supplier shall have no Intellectual Property Rights in such Deliverables. 

[bookmark: _Ref322019015]All Intellectual Property Rights in all Supplier Materials shall be retained by the Supplier subject to a grant by the Supplier to the Purchaser of an irrevocable, non-exclusive, worldwide, royalty-free license to use any Supplier Materials that are incorporated into the Deliverables to the extent necessary for Purchaser to use or access the Deliverables, whether for the purposes contemplated hereby or for such other purposes as are reasonable given the nature of the Deliverables.

1.10.2 [bookmark: _Toc140650766][bookmark: _Toc152576295][bookmark: _Toc198536685][bookmark: _Ref420592717]Moral Rights

The Supplier waives any and all moral rights in the Deliverables and shall obtain a waiver of moral rights in writing from any author or creator of any such Deliverable(s). Such waiver of moral rights shall be delivered to the Purchaser, which agrees that in the event the Deliverables are modified, they shall not be attributable to the Supplier without the prior written consent of the Supplier.

1.10.3 Further Assurances

The Supplier will, and will cause its Supplier’s Personnel and any other third parties having any rights in Deliverables to give the Purchaser or the Purchaser’s designee all reasonable assistance and execute all documents necessary to confirm the assignment of ownership and waiver of moral rights referred to in Sections 3.7.1 and 3.7.2, to obtain registrations of Intellectual Property Rights relating to any Deliverables and to enable the Purchaser to prosecute, perfect, register or record its rights in any Deliverables.

1.10.4 [bookmark: _Toc140650767][bookmark: _Toc152576296][bookmark: _Toc198536686]Delivery

The Supplier shall deliver the Deliverables to the Purchaser upon creation of same, and at the latest upon the termination or expiry of this Agreement, or earlier upon the Purchaser’s request or as contemplated by any Schedule hereto.

[bookmark: _Toc322651008]Application of Purchaser’s Rules to Supplier’s Personnel

(a) All policies and procedures applicable to the employees of the Purchaser regarding their conduct in connection with the business and affairs of the Purchaser shall, insofar as the same shall be required by the Purchaser, be applicable to the Supplier and the Supplier’s Personnel while on the Purchaser’s premises. It is the responsibility of the Supplier’s Personnel to familiarize themselves with all such policies and procedures, which the Purchaser shall provide to the Supplier in writing prior to, or at the time of execution of the Agreement.

(b) In the event that any of the Supplier’s Personnel fails or refuses to abide by such policies and procedures, Supplier shall ensure that such person no longer performs any Services for the Purchaser, and such person may be removed from or not admitted to the Purchaser’s premises. The Purchaser shall have no liability in connection with the foregoing.

(c) If requested by the Purchaser, the Supplier shall, based on the Purchaser’s internal hiring policies, provide a criminal background or security check of the Supplier’s Personnel. The Purchaser may disallow admittance to any of the Supplier’s Personnel to the Purchaser’s premises where such person does not meet the Purchaser’s security requirements.

[bookmark: _Toc239152768][bookmark: _Toc322651009]Workers’ Compensation

The Supplier shall make all payments required under the Workplace Safety and Insurance Act (Ontario), and under similar legislation in other jurisdictions, and shall indemnify and hold harmless the Indemnitees from any failure to comply. The Supplier shall provide the Purchaser with a certificate that the Supplier is in good standing under the relevant workers’ compensation legislation, if applicable.

[bookmark: _Toc239152769][bookmark: _Toc322651010]Workplace Safety

The Supplier shall:

(d) [bookmark: _Ref140395324][bookmark: _Ref140395330][bookmark: _Toc239152772]maintain a safe workplace or work site in accordance with safe work practices and housekeeping;

(e) comply with the Occupational Health and Safety Act (Ontario) and all of its regulations pertaining to the type of work being performed;

(f) have or acquire actual knowledge of, and comply with the Purchaser’s safety policies and appropriate safe work procedures;

(g) provide the necessary protective equipment, devices, or related safety item(s) as required by the Occupational Health and Safety Act (Ontario) and all of its regulations, as well as the Purchaser’s safety policies, and ensure that such equipment, devices, and items are used in the performance of the requirements of the Agreement;

(h) if requested, provide the Purchaser with a written copy of the Supplier’s health and safety policy as required by the Occupational Health and Safety Act (Ontario); and

(i) where applicable, provide product performance information relating to anti-microbial effectiveness, to be documented for the review and approval of the Purchaser and the Purchaser’s infection control units.

Third Party Software

Unless it obtains the Purchaser’s prior written approval, in performing the Services and developing the Deliverables, the Supplier will not use any third party software or other third party work (including any software or work subject to an open source license (including the GNU Public License) or any “copyleft” restrictions): (i) to which a license is required in order to use any Deliverables; (ii) the terms of which impose any restrictions on the use of any Deliverables; or (iii) the terms of which in any way limit the Purchaser’s Intellectual Property Rights.



[bookmark: _Ref420674577]Acceptance 

The Purchaser may at any time following receipt from the Supplier of any Deliverable or the completion of any Service test such Deliverable or Service in accordance with the acceptance test procedures determined by the Purchaser from time to time in its sole discretion. At any time following the acceptance testing of the Deliverable or Service in accordance with the acceptance test procedure, the Purchaser may notify the Supplier in writing that it rejects any Deliverable or Service which does not conform to or perform in accordance with Schedule A or otherwise fails to meet the specifications therefor as set out in this Agreement or as otherwise reasonably required by the Purchaser. If the Purchaser delivers to the Supplier a notice that the Purchaser rejects a Deliverable or Service, the Purchaser may: (i) require that the Supplier replacements of all or any part of the Deliverable or Service so that it conforms to and performs in accordance with Schedule A and otherwise meets the specifications therefor as set out in this Agreement or as otherwise reasonably required by the Purchaser, and in this Section 3.12 will be repeated until acceptance; or (ii) if after repeating the acceptance process in this Section 3.12 three times or more for a Deliverable, terminate this Agreement in whole or in part.

[bookmark: _Ref76232207][bookmark: _Ref420678971]Change Procedure

Either party may make changes to this Agreement in accordance with the following procedure. A change must be requested in writing by the relevant party, specifying the nature and details of the change and the reasons why it is necessary or desirable. Within two (2) days following receipt by the relevant party of the notice referred to in the preceding sentence, the Supplier will deliver a detailed written description of: (i) the impact of the change on any applicable Statement of Work or the fees payable under this Agreement; and (ii) any other relevant details which will enable the Purchaser to assess the anticipated impact of the change (the “Change Impact Statement”). Within two (2) days of receiving the Change Impact Statement, the Purchaser will have the right to notify the Supplier that it rejects or requires further information or clarification of the Change Impact Statement and the Supplier will within one (1) day of receiving such notice, send the Purchaser an amended Change Impact Statement. The procedure set out in this Section 3.13 will apply to any such amended Change Impact Statement until it is accepted by the Purchaser or until the Purchaser advises the Supplier that it rejects such change. Upon acceptance by the Purchaser of the relevant Change Impact Statement, the change and corresponding Change Impact Statement will be deemed to be incorporated into this Agreement as if this Agreement has been amended in accordance with Section 7.13. The costs associated with preparing and delivering any Change Impact Statement will be borne by the party who requested the change.

[bookmark: _Toc322651011][bookmark: _Ref420679264]Prices and Payment

[bookmark: _Ref140395828][bookmark: _Ref140395844][bookmark: _Ref140395850][bookmark: _Ref140395863][bookmark: _Ref140395868][bookmark: _Toc239152773][bookmark: _Toc322651012]Purchase Price

Subject to any adjustment pursuant to Section 2.4 (Changes to Schedules) the Purchase Price for the Services shall be the sum of $[Insert]. [Draft note: Consider putting into a separate schedule.]

[bookmark: _Toc239152774][bookmark: _Toc322651013]Invoicing

The Supplier shall submit invoices to the Purchaser for payment in accordance with Section 4.1 (Purchase Price). No additional or contrary term or condition, which may be contained in the Supplier’s invoice, shall have any application to this Agreement. Invoices shall reference this Agreement number and shall contain a brief, point form narrative relating to the amounts set out in it.

The Purchaser’s payment term shall be net [Insert] Days, unless, within that period, the Purchaser, acting reasonably, gives notice to the Supplier that the Services are not in accordance with the terms hereof in some material respect. [Specify: 30 Days or 60 Days or as applicable.] 

[bookmark: _Toc239152777][bookmark: _Toc322651014]Taxes

As the Purchase Price is exclusive of all harmonized and local sales taxes, if any, each shall be clearly set out on the Supplier’s invoice and paid by the Purchaser unless it provides evidence of exemption therefrom.

[bookmark: _Toc322651015]Other Costs and Expenses

The Purchaser shall not be responsible for any costs or expenses of the Supplier relating to this Agreement that are not set out at Section 4.1, including in respect of accommodation or travel, unless expressly agreed to by the Purchaser in writing. Notwithstanding any agreement by the Purchaser to additional costs or expenses, all expenses that are to be reimbursed or paid by the Purchaser must be in accordance with the Purchaser’s rules with respect to travel, meal and hospitality expenses, as established under the Broader Public Sector Expenses Directive, as amended from time to time. For greater certainty, meals, hospitality and incidental expenses will not be reimbursed by the Purchaser.

[bookmark: _Ref140553874][bookmark: _Ref140553879][bookmark: _Toc239152779][bookmark: _Toc322651016]Representations, Warranties, Indemnities

[bookmark: _Ref140395273][bookmark: _Ref140395280][bookmark: _Ref140395599][bookmark: _Ref140395604][bookmark: _Ref140395902][bookmark: _Ref140395910][bookmark: _Ref140395921][bookmark: _Ref140395927][bookmark: _Ref140395948][bookmark: _Ref140395954][bookmark: _Ref140396031][bookmark: _Ref140396037][bookmark: _Ref140396053][bookmark: _Ref140396060][bookmark: _Toc239152780][bookmark: _Toc322651017]Supplier’s Representations and Warranties

[Use and add as applicable]

The Supplier represents and warrants to the Purchaser and acknowledges that the Purchaser is relying thereon, as follows:

the Services shall have received all required approvals of, and shall comply with all applicable standards and requirements referred to in this Agreement, or as may be required by law;

the Supplier shall provide documented evidence that the Services meet the applicable standards or that the Supplier has the applicable licenses, if any, referred to in this Section 5.1 (Supplier’s Representations and Warranties) or by law;

if applicable, on completion of the Services or delivery of any Deliverable, there shall be no liens outstanding in regard to such Services or any Deliverable;

the Supplier has full power and legal right to enter into the Agreement and to fulfill all of its obligations hereunder;

the Supplier is not aware of any proceeding in progress or pending or threatened against, related to or affecting the Supplier and which might be expected to have a materially adverse effect on the Services or impact the Supplier’s ability to meet its obligations under this Agreement;

to the best of its knowledge, neither the Purchaser, the Purchasing Organization nor any of their respective personnel or affiliated organizations has any significant influence in the Supplier or any of its associates or affiliates, or will receive any direct or indirect proceeds from the Agreement other than as expressly stated in the Agreement; 

all representations, warranties, confirmations, and statements set out in the Supplier’s proposal/quotation and in this Agreement shall remain accurate in their entirety during the Term, and shall survive the expiration of the term of this agreement; and

the performance by the Supplier of its obligations under this Agreement and the receipt by the Purchaser of the Services and Deliverables (in each case, whether separately or together in combination), do not and will not infringe the Intellectual Property Rights of any third party.



1.11 [bookmark: _Toc239152782][bookmark: _Toc322018821][bookmark: _Toc322651018]Nature of Warranties

Except as expressly set forth herein, there are no other warranties or conditions, express or implied, including any warranty or condition of merchantability or fitness for a particular purpose, in respect of the Services.

[bookmark: _Toc239152784][bookmark: _Ref255518434][bookmark: _Ref255518452][bookmark: _Ref255565948][bookmark: _Ref255565965][bookmark: _Toc322651019]Indemnity

The Supplier agrees to indemnify, defend (at its expense) and hold the Indemnitees harmless in respect of any action, claim, demand, cost, charge, losses, and expenses (including legal costs on a substantial indemnity basis), whether or not well-founded, (“Losses”) brought against or suffered by the Indemnitees arising out of or related to:

(a) [bookmark: _Ref322005183]claims for bodily injury, including death, and claims asserted by third parties for bodily injury, including death; 

(b) claims for loss or damage to tangible property, and claims asserted by third parties for loss or damage to tangible property;

any breach or alleged breach by the Supplier of any of its obligations, warranties, or representations in the Agreement; or

[bookmark: _Ref322017814]allegations that the operation or use of any Deliverables, or any part thereof, infringes on any third party’s copyright, trade secret, patent, or any other intellectual property right; 

except to the extent that such Losses were not caused by the Supplier. The Purchaser shall notify the Supplier as soon as is reasonably practicable in the circumstances of any Losses in respect of which this indemnity may apply and of which the Purchaser has knowledge, and the Purchaser shall co-operate with the Supplier in the defence of any such claim or action. No such claim or action shall be settled or compromised by the Supplier without the Purchaser’s prior written consent.

[bookmark: _Ref322182044][bookmark: _Toc322651020]Limitation of Liability

1.11.2 [bookmark: _Ref319953017][bookmark: _Ref140553801][bookmark: _Ref140553809][bookmark: _Toc239152786][bookmark: _Toc248774624]Limitation of Liability

The limitation of liabilities in this Section shall not apply in respect of damages arising from (i) any indemnities with respect to intellectual property, bodily injury or death; or (ii) a breach of confidence or privacy obligations. 

In the event the Supplier is liable to the Purchaser in respect of any claim against the Supplier whether based in contract, tort (including negligence), or otherwise, including breach by the Supplier of any of its obligations under this Agreement (whether or not a fundamental breach), the Purchaser’ damages shall be limited to the actual loss suffered by the party not in breach.

The parents, affiliates, subsidiaries, directors, officers, employees, agents, representatives, subcontractors and suppliers of a party shall be deemed to be included as part of such party for purposes of this Section 5.4.1 to the extent that any of such parties has suffered damages caused by the party in breach of this Agreement.

1.11.3 Indirect Damages

Other than in connection with Section 5.3(a), Section 5.3(d) and Section 7.8, neither party shall assume any liability for special, indirect, incidental or consequential damages arising in connection with this Agreement, even if advised of the possibility thereof, including, but not limited to, lost profits, lost business revenue, failure to realize expected savings, other commercial or economic losses of any kind, or for any claim against Purchaser. [Consider whether the type of damages to be protected against in the particular procurement could be considered an ‘indirect’ damage. Since there is often some doubt in this area, it is highly advisable to describe expressly in Section 5.5 (Indemnity), above, what is intended to be covered. That way, it will be treated as ‘direct’ damages.]

[bookmark: _Toc239152787][bookmark: _Ref257012456][bookmark: _Ref257012475][bookmark: _Toc322651021]Term and Termination

[bookmark: _Toc239152788][bookmark: _Ref239417262][bookmark: _Ref239417264][bookmark: _Toc322651022]Term

This Agreement shall become effective on the Effective Date, and shall expire on the completion of all Services under this Agreement unless it is terminated early in accordance with the provisions of the Agreement (the “Term”). The Term is subject to any and all rights of either party to terminate the Agreement pursuant to the terms of the Agreement, or otherwise available to either party at law or in equity.

[bookmark: _Toc140290286][bookmark: _Toc140290564][bookmark: _Toc172520756][bookmark: _Toc248472110][bookmark: _Toc322651023][bookmark: _Toc239152789][bookmark: _Ref239421375][bookmark: _Ref239421376]Extension

[Optional – If the Services were acquired in a RFP process, the following option is only to be used if the RFP document allowed for such an extension.]

The Purchaser, in its sole discretion, may extend the Term for an additional period of [Insert the extension period] months by giving written notice to the Supplier prior to the commencement of the extension period upon the same terms and conditions.

[bookmark: _Ref256975744][bookmark: _Ref256975766][bookmark: _Toc322651024]Termination by Either Party

Either party may, without liability, cost or penalty, terminate the Agreement on written notice to the other where such other party neglects or fails to perform or observe any material term or obligation of the Agreement and such failure has not been cured within 30 Days of written notice being provided.

[bookmark: _Toc239152790][bookmark: _Ref239421459][bookmark: _Ref239421461][bookmark: _Ref256975782][bookmark: _Ref256975800][bookmark: _Ref292443163][bookmark: _Toc322651025]Termination by Purchaser

The Purchaser shall be entitled to terminate the Agreement, without liability, cost, or penalty:

(a) Immediately on written notice to the Supplier where the Supplier: (i) makes any general assignment for the benefit of creditors or otherwise enters into any composition or arrangement with its creditors; (ii) has a receiver and/or manager appointed over its assets or makes an application to do so; (iii) becomes bankrupt or insolvent or commits an act of bankruptcy or takes or attempts to take advantage of any law or statute for the relief of bankrupt or insolvent debtors; (iv) has a resolution or a petition filed or an order made for its winding up; or (v) ceases to carry on business. Notwithstanding the foregoing, the Purchaser shall not be entitled to terminate this Agreement under this Section if the Supplier, or its creditors, or some other party makes provisions reasonably acceptable to the Customer for the performance of its obligations hereunder;

(b) on [Insert] [Days] written notice to the Supplier, following the occurrence of any material change in the Purchaser’s requirements which results from regulatory or funding changes or recommendations issued by any Governmental Authority;

(c) on [Insert] [Days] days written notice to the Supplier if the Supplier breaches in any material respect any of its obligations or covenants hereunder with respect to confidential information or privacy;

(d) in the event of a material breach of any of the provisions of Section 3.1, or Section 5.1 (including no conflict of interest), or any service standard referred in the Services and Pricing Schedule, if such breach is not cured within 90 Days of Purchaser giving written notice of such material breach to the Supplier; and

as per any provision of the Agreement that provides for early termination.

1.12 [bookmark: _Toc140650799][bookmark: _Toc152576328][bookmark: _Toc198536718][bookmark: _Toc256363459][bookmark: _Toc322651026][bookmark: _Toc239152792]Obligations in the Event of Termination or Expiration of the Agreement 

1.12.1 [bookmark: _Toc140650800][bookmark: _Ref140905375][bookmark: _Toc152576329][bookmark: _Toc198536719]Supplier’s Obligations

In the event that the Purchaser gives notice of termination under this Agreement or this Agreement expires, or this Agreement is otherwise terminated, the Supplier shall, at the request of the Purchaser do any or any combination of the following:



disclose to the Purchaser the current state of the Services completed to the effective date of termination (including all Deliverables that have been produced) by the Supplier as at the effective date of termination; 

prepare a written report on the Services completed to the effective date of termination (including all Deliverables that have been produced) and deliver that report in a professional manner acceptable to the Purchaser within 10 days from the effective date of termination;

provide to the Purchaser all Deliverables produced during the Term not yet supplied to the Customer, and return to the Purchaser all information and materials provided to the Supplier by the Purchaser;  

assist with the transition/handover of the Services, whether to the Purchaser or to a third party, as applicable and upon the request of the Purchaser; and

return to the Purchaser all copies of Confidential Information already in the Supplier’s possession or within its control. Alternatively, with the Purchaser’s prior written consent, the Supplier may destroy such Confidential Information, in which case an officer of the Supplier will certify in writing to the Purchaser that all such Confidential Information has been so destroyed.

1.12.2 [bookmark: _Toc140650801][bookmark: _Toc152576330][bookmark: _Toc198536720]Purchaser’s Obligations

Where the Purchaser terminates the Agreement, the Purchaser shall be responsible only for: 



payment of the Services provided to the date of termination; and

all expenditures reasonably incurred in connection with preparing and providing the report prepared pursuant to Subsection 6.5.1 (b);

provided that all such payments shall be no greater than the Purchase Price, and shall be subject to the invoicing and other requirements of Article 4.

1.12.3 Transition Assistance

Upon termination of expiration of this Agreement for any reason, where requested by the Purchaser, the Supplier will continue to provide the Services and will assign personnel as may be required by the Purchaser to provide reasonable technical and operational support, consulting services and other assistance to assist the Purchaser (or a third party designated by the Purchaser) to transition from the Services to alternative services and service providers in an orderly manner and with a minimum of level of interruption to the Purchaser (“Transition Assistance”) for a minimum of one hundred twenty (120) Days or such longer period as the Parties may agree. The Purchaser will continue to pay all applicable fees for Services received during the provision of Transition Assistance, and reasonable additional fees for the provision of all other Transition Assistance services. The Purchaser may terminate all or any part of the Transition Assistance at any time during the Transition Period by providing not less than ten (10) Days notice to the Supplier.

For a minimum of one hundred twenty (120) Days or such longer period as the Parties may agree (“Transition Period”).

References to the Term in this Agreement will include the Transition Period, if any.

[bookmark: _Toc322651027]No Limitation of Remedies

Any termination of the Agreement shall not in any respect limit any of either party’s rights or remedies either in law or in equity or relieve either party of any obligation incurred prior to the effective date of such termination.

[bookmark: _Toc239152793][bookmark: _Toc322651028]Survival

[bookmark: _Toc239152794][bookmark: _Ref239425544][bookmark: _Ref239425546]In addition to any other provision dealing with the survival of obligations hereunder, all of the obligations regarding confidentiality, privacy, Intellectual Property Rights, indemnifications, disclaimers and limitations on liability set out in this Agreement shall survive the expiry or termination of this Agreement, as shall all any other provisions which, by their nature, ought reasonably to survive expiry or termination.

[bookmark: _Ref322181025][bookmark: _Toc322651029]General

[bookmark: _Toc239152795][bookmark: _Toc322651030]Liability Insurance

[No Services should be delivered until the Purchaser is in receipt of a satisfactory certificate, as set out below or as per the insurance broker’s instructions. The following are sample provisions only and may not be appropriate in all cases. As such, these provisions need to be customized for each specific procurement and the limitations of liabilities/amounts set out below ascertained from the appropriate sector insurance broker.]

Supplier’s Insurance

The duration of each policy maintained by the supplier pursuant to this agreement shall be from the Effective Date until termination of the Agreement. The Supplier hereby agrees to put in effect and maintain insurance for the Term, at its own cost and expense, with insurers having a secure A.M. Best rating of B + or greater, or the equivalent, all the necessary and appropriate insurance that a prudent person in the business of the Supplier would maintain including, but not limited to, the following comprehensive commercial general liability insurance on an occurrence basis for third party bodily injury, personal injury and property damage, to an inclusive limit of not less than [Insert amount] per occurrence, [Insert amount] aggregate. The policy shall include, but not be limited to, the following:

the Purchaser shall be named as an additional insured with respect to liability arising in the course of performance of the Supplier’s obligations under, or otherwise in connection with, the Agreement;

products and completed operations;

contractual liability coverage;

a cross-liability clause;

30 Day written notice of cancellation, termination, or material change; and

owned and non-owned automobile coverage with blanket contractual coverage for hired automobiles.

Proof of Insurance

On the Effective Date and upon the placement, renewal, amendment, or extension of any part of the insurance, the Supplier shall provide the Purchaser with written confirmation of coverage and, if requested, a certificate of insurance certified by an authorized representative of the insurer. 

Additional Insurance

It shall be the sole responsibility of the Supplier to determine what additional insurance coverage, if any, shall be necessary and advisable for its own protection and/or to fulfill its obligations under the Agreement. Any such additional insurance shall be provided and maintained by the Supplier at its own expense.

[bookmark: _Toc239152800][bookmark: _Toc322651031]Compliance with Laws

The Supplier shall comply with all federal, provincial, and local laws, regulations, and orders in fulfilling its obligations under the Agreement.

[bookmark: _Toc239152801][bookmark: _Toc322651032]Remedies Cumulative

The rights and remedies of the parties under this Agreement are cumulative, and are in addition to and not in substitution for any other rights or remedies provided in the Agreement, by law or in equity. Any single or partial exercise by a party of any right under this Agreement, or any failure to exercise or delay in exercising any such right, shall not be or be deemed to be a waiver of, or to prejudice any other rights or remedies to which such party may be entitled.

[bookmark: _Toc239152802][bookmark: _Toc322651033]Force Majeure

General

Except as expressly provided otherwise in the Agreement, dates and times by which a party is required to render performance under this Agreement shall be postponed to the extent and for the period of time that such party is prevented from meeting such dates and times by an Event of Force Majeure.

Purchase of Services

The Purchaser shall not be obligated to purchase the Services in the event that the needs of the Purchaser change due to any Event of Force Majeure, provided that the Purchaser promptly advises the Supplier where the Purchaser’s needs have changed.

[bookmark: _Ref140554115][bookmark: _Ref140554134][bookmark: _Ref140554150]Notice

Where an Event of Force Majeure occurs, the party who is delayed or fails to perform shall give prompt written notice to the other party.

Performance

Such party must thereafter use reasonable commercial efforts to render performance in a timely manner utilizing to such end all resources reasonably required in the circumstances, including obtaining supplies or services from other sources if the same are reasonably available.

Right to Terminate

In the event inability of the Supplier to perform due to an Event of Force Majeure shall continue longer than [Insert] Days, the Purchaser may terminate the Agreement by notice to the Supplier without further liability, expense, or cost of any kind.

[bookmark: _Ref204010549][bookmark: _Ref204010568][bookmark: _Toc239152803][bookmark: _Toc322651034]Alternative Dispute Resolution

[Consider where ADR should exclude the possibility of litigation in all cases.]

General

Should any party default in respect of or contravene any portion of the Agreement, the parties agree to address the breach or dispute through the process set out in this Section 7.5 (“Alternative Dispute Resolution”). Before pursuing this Alternative Dispute Resolution, the parties shall have first escalated the dispute to the highest level of management within their respective organization and given at least [Insert] Days for such highest level of management to resolve the matter prior to incurring costs under this Section 7.5 (Alternative Dispute Resolution). Subject to the provisions of the Agreement, each party shall continue performing its obligations during the resolution of any dispute, including payment of undisputed amounts then due.

The arbitration procedures in this Section 7.5 (Alternative Dispute Resolution) shall not (i) apply to claims by third parties, or (ii) prevent either party from seeking an injunction or other equitable relief from a court in order to protect its intellectual property rights or its confidential information.

Election

If elected by a party, any breach or claim arising out of or relating to this Agreement or the breach thereof, may be settled by arbitration in accordance with the applicable Arbitration Act, 1991 (Ontario) and judgment upon the award rendered by the arbitrator may be entered in any court having jurisdiction thereof. 

[bookmark: _Ref238225943][bookmark: _Ref238225955]Arbitration Site

The arbitration shall be held at [Insert city name] or at such other site mutually determined by the parties. Where the parties are unable to agree upon an arbitrator who is willing to serve within 45 Days of receipt of a demand to arbitrate by a party, then either party may seek the appointment of an arbitrator under the procedures of the Arbitration Act.

Procedure

Subject to the provisions of Section 7.6 (Notices), the arbitrator shall determine the procedure for the arbitration. Such procedure shall include at least one opportunity for written submissions by or on behalf of each party and may include proceedings by way of exchange of oral argument, hearings with or without witnesses, and such other procedures as the arbitrator deems appropriate. The arbitrator shall have no power to amend the provisions of the Agreement.

Decision

The arbitrator shall not award either party punitive damages and the parties shall be deemed to have waived any right to such damages. The decision shall be in writing and judgment upon the award by the arbitrator may be entered into any court having jurisdiction. Prompt handling and disposal of the issue shall be important. Accordingly, the arbitrator shall be instructed to assume adequate managerial initiative and control over discovery and other aspects of the proceeding to schedule discovery and other activities for substantially continuous work, thereby expediting the arbitration as much as is deemed reasonable to the arbitrator, but in all events, to effect a final award within 45 Days of the arbitrator’s selection or appointment and within 10 Days of the close of evidence.

Confidential Information

The proceedings shall be confidential and the arbitrator shall issue appropriate protective orders to safeguard both parties’ confidential information. The arbitrator shall have the right, but not the obligation, to order that the losing party pay the fees of the arbitrator, which shall be designated by the arbitrator. If the arbitrator is unable to designate a losing party or does not order the losing party to pay all such fees, the arbitrator shall so state and the fees shall be split equally between the parties.

Termination Clauses not Subject

Notwithstanding the above, the termination clause provisions as set out in Sections 6.3 (Termination by Either Party) and 6.4 (Termination by Purchaser) shall not be subject to Alternative Dispute Resolution.

[bookmark: _Ref140554219][bookmark: _Ref140554225][bookmark: _Toc239152804][bookmark: _Toc322651035]Notices

General

Subject to the provisions of the Information Practices Schedule, any notice, demand, request, consent, approval, or acceptance required or contemplated to be given or made hereunder (a “notice”), shall be in writing and shall be sufficiently given or made if: 

(a) delivered in person and left with a receptionist or other responsible employee of the relevant party at the applicable address set forth on the first page hereof;

(b) sent by prepaid registered post addressed to the address set forth on the first page hereof; or

(c) sent by any electronic means of sending messages, including facsimile transmission, which produces a paper record (in this Section an “Electronic Transmission”) during normal business hours on a Business Day: 

(i) in the case of the Supplier, to facsimile number [Insert facsimile number and email address];

(ii) in the case of the Purchaser, to facsimile number [Insert facsimile number and email address];

Each notice sent in accordance with this Section shall be deemed to have been received:



(d) on the day it was delivered or on the first Business Day thereafter if it was delivered after 5:00 p.m. or if the day on which it was delivered was not a Business Day;

(e) on the fifth (5th) mail delivery day following the day on which it was posted; or

(f) on the first Business Day after it was sent by Electronic Transmission.

Changes

Either party may change its address for notice by giving notice to the other party (as provided in this Section 7.6 (Notices). A party must always provide an address for notice to which notices can be personally delivered.

[bookmark: _Ref140553930][bookmark: _Ref140553937][bookmark: _Toc239152805][bookmark: _Toc322651036]Publicity

Each party agrees that the terms of this Agreement are confidential. The Supplier shall not in any of its advertising or otherwise indicate that it has supplied or may in the future supply Services under this Agreement without the express prior written consent of the Purchaser. No acquisition or use of the Services by the Purchaser shall be construed as an endorsement or approval of the Services.

[bookmark: _Ref140553959][bookmark: _Ref140553970][bookmark: _Toc239152806][bookmark: _Toc322651037]Confidentiality

General

The parties agree that any information concerning the business or affairs of the other party or its directors, officers, agents, employees, clients, patients and physicians, as applicable, about which the other party becomes aware of in the course of the Supplier supplying the Services shall:

be treated by the Supplier as confidential;

not be disclosed without the written consent of the Purchaser to any third party or to the Supplier’s Personnel or the Purchaser’s staff except as may be required in order for the Supplier or the Purchaser, as the case may be, to meet its obligations under this Agreement; and

not be used for any purpose other than that contemplated by this Agreement and for the benefit of the other party.

The parties agree that any combination of information which includes such information shall be treated as confidential in its totality even if individual parts thereof are not confidential. The parties shall use all reasonable efforts to keep such information confidential, using a standard of care no less than the degree of care that the recipient would be reasonably expected to employ for its own confidential information. The parties shall ensure that all recipients of the said information, including the Supplier’s Personnel or the Purchaser’s staff, assume obligations identical in principle with those which the parties assume under this Section.

In the event a party is required by any applicable law to make disclosure of any such information, the party required to make disclosure shall consult with the other party in advance to the extent reasonably practicable as to the contents and timing of such disclosure in order for the other party to have the opportunity to prevent the disclosure of such confidential information or to obtain a protective order or other remedy. If such protective order or other remedy is not obtained, the disclosing party shall produce only that portion of the confidential information that it is ordered to disclose. In the event that any confidential information is disclosed pursuant to the foregoing, it shall not lose its confidential status through such disclosure.

Exceptions

While neither party shall disclose any confidential information of the other, it shall not constitute a breach of the obligations hereunder if such confidential information:

was already publicly known or becomes publicly known from no breach of such party;

can be proved to have already been known to such party at the time of disclosure;

can be proved to have been independently developed by the party without reference to or use of the information;

can be proved to have been lawfully received by the party from a third party; or

was made public with the prior consent in writing of the other party.

FIPPA Records and Compliance 

The Supplier and the Purchaser acknowledge and agree that FIPPA applies to and governs all Records (as defined under FIPPA) and may require the disclosure of such Records to third parties. Furthermore, the Supplier agrees: 

(a)	to keep Records secure; 

(b)	to provide Records to the Purchaser within 7 Days of being directed to do so by the Purchaser for any reason including an access request or privacy issue; 

(c)	not to access any Personal Information unless the Purchaser determines, in its sole discretion, that access is permitted under FIPPA and is necessary in order to provide the Services; 

(d)	not to directly or indirectly use, collect, disclose, or destroy any Personal Information for any purposes that are not authorized by the Purchaser; 

(e)	to ensure the security and integrity of Personal Information and keep it in a physically secure and separate location safe from loss, alteration, destruction, or intermingling with other records and databases and to implement, use, and maintain the most appropriate products, tools, measures, and procedures to do so; 

(f)	to restrict access to Personal Information to those of its directors, officers, governors, employees, agents, partners, affiliates, volunteers, or subcontractors who have a need to know it for the purpose of providing the Services and who have been specifically authorized by the Purchaser to have such access for the purpose of providing the Services; 

(g)	to implement other specific security measures that in the reasonable opinion of the Purchaser would improve the adequacy and effectiveness of the Supplier’s measures to ensure the security and integrity of Personal Information and Records generally; and 

(h)	that any confidential information supplied to the Purchaser may be disclosed by the Purchaser where it is obligated to do so under FIPPA, by an order of a court or tribunal or pursuant to a legal proceeding;

and the provisions of this paragraph shall prevail over any inconsistent provisions in the Agreement.

Information Practices

The Supplier, for the purposes of this Agreement, as an agent of the Purchaser, pursuant to Section 2 of the Personal Health Information Protection Act, 2004 (Ontario) and PIPEDA, acknowledge that it has reviewed and agrees to abide by the Purchaser’s Information Practices set out in the Information Practices Schedule (“Information Practices”) to the extent they are applicable to it.

[bookmark: _Toc239152807][bookmark: _Toc322651038]Property of the Purchaser

All Records, schematics, drawings, blueprints, specifications, and other information and documentation, which may be provided by the Purchaser to the Supplier in connection with this Agreement, shall remain the property of the Purchaser, and shall be returned to the purchaser on demand.

[bookmark: _Toc239152732][bookmark: _Toc322651039]Entire Agreement

[bookmark: _Ref238225046][bookmark: _Ref238225061][bookmark: _Toc239152734]This Agreement, together with the RFP if applicable, constitutes the entire agreement between the parties with respect to the subject matter hereof and supersedes all prior agreements, understandings, negotiations, and discussions, whether written or oral and whether between the Supplier and the Purchaser or between the Supplier and the Purchasing Organization. There are no conditions, covenants, agreements, representations, warranties, or other provisions, expressed or implied, collateral, statutory, or otherwise, relating to the subject matter hereof except as provided herein.

[Depending on the Purchasing Organization’s relationship with the Purchaser and if the Purchasing Organization has been involved, use the following sentence, if applicable.]

The Supplier acknowledges that Purchasing Organization has no authority to assume or create any obligation whatsoever, express or implied, in the name of or on behalf of the Purchaser with respect to this Agreement.

[bookmark: _Toc322651040]Time of Essence

Time shall be of the essence of this Agreement.

[bookmark: _Toc239152736][bookmark: _Toc322651041]Assignment and Enurement

This Agreement shall enure to the benefit of and shall be binding on and enforceable by the parties and their respective successors and permitted assigns. Neither party may assign or subcontract any of its rights or obligations hereunder without the prior written consent of the other party. Any act in derogation of the foregoing shall be null and void. For the purposes of this Agreement, the transfer or issuance of shares by the Supplier of more than fifty per cent (50%) of the voting securities of the Supplier to any entity or entities other than to an affiliate (as such term is defined in the Business Corporations Act (Ontario)) or the shareholder or shareholders of the Supplier as of the date of this Agreement, whether or not such transfer or issuance of voting securities takes place in one or more transactions, shall, for the purposes of this Agreement, be deemed to be an assignment of this Agreement requiring the consent of the Purchaser, unless such transfer or issuance of shares is made pursuant to an initial public offering of common shares under the Securities Act (Ontario).

[bookmark: _Toc239152737][bookmark: _Toc322651042][bookmark: _Ref420678988]Amendment and Waivers

This Agreement may not be amended or modified in any respect except by written instrument signed by both parties, provided that the Purchaser may make changes to the attached schedules as set forth in Section 2.4 (Changes to Schedules). No waiver of any provision of this Agreement shall constitute a waiver of any other provision nor shall any waiver constitute a continuing waiver unless otherwise provided.

[bookmark: _Toc239152738][bookmark: _Toc322651043]Independent Parties

This Agreement does not create a relationship of principal and agent or employer and employee between the Purchaser and the Supplier and under no circumstance shall either party be considered the agent of the other. The Supplier shall have no authority to assume or create any obligation whatsoever, express or implied, in the name of or on behalf of the Purchaser.

[bookmark: _Toc239152739][bookmark: _Toc322651044]Currency

Unless otherwise indicated, all dollar amounts expressed in the Agreement are in Canadian currency.

[bookmark: _Toc239152740][bookmark: _Toc322651045]Legislation

Where a statute is referred to in the Agreement, such statute shall be interpreted to include all of its related regulations, as such statute and regulations may be amended from time to time.

Independent Contractor

The Supplier acknowledges that it is acting as an independent contractor, that the Supplier is solely responsible for its actions or inactions, and that nothing in this Agreement will be construed to create an agency or employment relationship between the Purchaser and the Supplier. The Supplier is not authorized to enter into contracts or agreements on behalf of the Purchaser or to otherwise create obligations of the Purchaser to third parties. Neither the Supplier nor any of its employees or contractors are the Purchaser employees for any purpose. The Supplier agrees that the Supplier is solely responsible for payment, withholding and remittance of all taxes and statutorily required payments including, without limitation, all applicable income taxes, goods and services taxes, workers’ compensation premiums, disability benefits, Canada Pension Plan contributions and employment insurance contributions, or any other taxes, amounts or other expenses owing as a result of its receipt of the fees and expenses under this Agreement.

[bookmark: _Toc239152735][bookmark: _Toc322651046]Governing Laws

This Agreement shall be interpreted and enforced in accordance with, and the respective rights and obligations of the parties shall be governed by, the laws of the Province of Ontario, except that such Province’s conflict of laws rules shall not apply to this Agreement. Subject to Section 7.5, each party irrevocably and unconditionally submits to the non-exclusive jurisdiction of the courts of the Province of Ontario and the courts competent to hear any appeal.

Counterparts

This Agreement may be signed by facsimile or scanned copy and in counterparts and each of such counterparts will constitute an original document and such counterparts, taken together, will constitute one and the same instrument.



The parties hereby execute the Agreement, which is made as of the Effective Date.



		

		

		



		(Name of Purchaser)

		

		(Name of Supplier)









		

		

		



		(Authorized Signature)

		

		(Authorized Signature)









		

		

		



		Name (Print)

Title (Print)

I have the authority to bind the Purchaser.

		

		Name (Print)

Title (Print)

I have the authority to bind the Supplier.









		

		

		



		(Date)

		

		(Date)







[bookmark: _Ref238292397][bookmark: _Ref238292473][bookmark: _Toc239152808][bookmark: _Ref239421632][bookmark: _Ref239422700][bookmark: _Ref140395193]
Schedule A

[bookmark: _Toc248472137][bookmark: _Ref256944479][bookmark: _Ref256944493][bookmark: _Ref256944521][bookmark: _Ref256944534][bookmark: _Ref256944571][bookmark: _Ref256944584][bookmark: _Toc322651047]Supplier’s Proposal Schedule




Schedule B



[bookmark: _Ref151970754][bookmark: _Toc239152810][bookmark: _Toc322651048]Personnel Schedule




Schedule C



[bookmark: _Ref256890205][bookmark: _Ref256890218][bookmark: _Ref256890259][bookmark: _Ref256945636][bookmark: _Ref256945649][bookmark: _Ref256945797][bookmark: _Ref256945818][bookmark: _Ref256945835][bookmark: _Ref256945845][bookmark: _Ref256945856][bookmark: _Ref256945870][bookmark: _Ref256945881][bookmark: _Toc322651049]Services and Prices Schedule




Schedule D



[bookmark: _Ref140553978][bookmark: _Ref140554190][bookmark: _Ref140554245][bookmark: _Ref140554273][bookmark: _Ref140554282][bookmark: _Ref151970839][bookmark: _Ref151970854][bookmark: _Ref151970863][bookmark: _Ref151970883][bookmark: _Ref151970889][bookmark: _Toc239152812][bookmark: _Toc322651050]Information Practices Schedule

[bookmark: _Ref238292405][bookmark: _Ref238292616]Collection, Use, and Disclosure of Personal Information & Personal Health Information



1. The Supplier agrees to receive PHI from the Purchaser in accordance with the requirements of s. 17 or, in the case of health information network providers, s. 10(4) of the Personal Health Information Protection Act, 2004 (Ontario) (PHIPA), Personal Information Protection and Electronic Documents Act (PIPEDA) and its related regulations, as part of the Supplier’s provision of services to and on behalf of the Purchaser, and not on the Supplier’s behalf or for the Supplier’s own purposes.



2. For greater specificity pursuant to the Supplier’s obligations under Section 1 of this Information Practices Schedule, in the event that the Supplier is a health information network provider under PHIPA, the Supplier will provide the Purchaser with a Privacy Impact Assessment and a Threat Risk Assessment with respect to the services to be provided to the Purchaser pursuant to the Agreement.



3. The Supplier will only use as much PHI as is reasonably necessary to perform its obligations under the Agreement and will make PHI available only to those employees who require access in order to satisfy those obligations.



4. The Supplier will only use and disclose any PHI it receives from the Purchaser as is permitted or required under the Agreement or the laws of Canada and/or the province of Ontario.



5. The Supplier will ensure that any of its agents or subcontractors to whom the Supplier provides the Purchaser PHI has agreed in writing to the same restrictions and conditions that apply to the Supplier with respect to PHI.



6. The Supplier will not disclose PHI, or any information, to any affiliated or unaffiliated third party without the prior written consent of the Purchaser.



7. The Supplier will maintain a log of access and disclosure of PHI by the Supplier and the Supplier’s Personnel and make such log available to the Purchaser as and when requested.



Practices to Protect Personal Health Information



8. The Supplier will employ appropriate safeguards to prevent theft, loss, and unauthorized access, copying, modification, use, disclosure, or disposal of PHI. [If information management services are part of the Agreement use the following: Without limiting the generality of the foregoing, the Supplier will take reasonable steps to ensure that all PHI from the Purchaser is securely segregated from any information owned by the Supplier or third parties, including access barriers, physical segregation, and password authorization.]



9. The Supplier will maintain privacy policies in accordance with Canadian and Ontario laws and these policies will be made available for inspection on request.



10. The Supplier will educate its employees on privacy laws and policies and take reasonable steps to ensure employee compliance through staff training, confidentiality agreements, and employee sanctions.



11. The Supplier will ensure that all employees who have access to PHI from the Purchaser have undergone screening that includes reference checks. 



12. The Supplier will ensure that its employees who are fired, resign, or no longer require access to PHI from the Purchaser return all PHI to the Purchaser and can, thereafter, no longer access applications, hardware, software, network, and facilities belonging to either the Supplier or the Purchaser. 



13. The Supplier will revoke any user’s access to PHI if security is breached and on the Purchaser’s reasonable request.



14. At the termination of the Agreement, the Supplier will return or destroy all PHI received from, created, or received by the Supplier on behalf of the Purchaser that the Supplier maintains custody of in any form and will retain no copies of PHI thereafter. The Supplier will certify to the Purchaser that all such PHI has been returned or destroyed, as the case may be. If such return or destruction of PHI is not feasible, the Supplier will notify the Purchaser of this fact, extend the protections of the Agreement to all PHI in its custody and will cease all further uses and disclosures.



Notification of and Communication with the Purchaser 



15. The Supplier will provide the Purchaser with the name of a contact person at the Supplier’s organization responsible for the Supplier’s privacy compliance and notify the Purchaser within 24 hours of any changes in the identity of the responsible person.



16. The Supplier will provide notice to the Purchaser’s Privacy Office if the nature of the Supplier’s business and the services being provided to the Purchaser require that the Purchaser PHI must be transmitted or access be provided to any of the Supplier’s Personnel or to any facility situated outside of Ontario. When providing notice, please specify where outside of Ontario the PHI will be transmitted or from where it will be accessed. The Purchaser’s Privacy Office can be notified as follows: 



[Insert Contact Information as appropriate]



17. The Supplier will report to the Purchaser’s Privacy Office at the Supplier’s first reasonable opportunity, but in any event no more than 48 hours after the Supplier becomes aware of any use, disclosure (including being legally compelled), theft, or unauthorized access of PHI by the Supplier or any of the Supplier’s agents or subcontractors to whom the Supplier provide the Purchaser PHI.



18. The Supplier will refer anyone trying to access, correct, or complain about their PHI to the Purchaser’s Privacy Office within 48 hours of receiving the complaint or request for access or correction. The Supplier will cooperate with and assist the Purchaser in the management of any such request for access or correction or complaint.



19. The Supplier will, upon request, make PHI available to the Purchaser for amendment and incorporate any amendments into the Supplier’s records of PHI. During the Term, the Supplier may never deny the Purchaser access to its patients’ PHI.



20. The Purchaser reserves the right to: inspect any equipment used or records maintained by the Supplier in connection with the provision of goods or services; question the Supplier’s Personnel regarding their handling of PHI; and otherwise audit and electronically verify compliance with these practices.



Additional Purchaser Rights



21. Notwithstanding anything else contained in the Agreement, the Supplier authorizes, acknowledges, and accepts termination without notice of the Agreement by the Purchaser in the event that the Purchaser determines the Supplier has violated any of these practices.



22. All of the privacy terms provisions in this Information Practices Schedule survive the termination of the Agreement. 



23. The Purchaser reserves the right to go to court to obtain an order stopping or preventing the Supplier from violating the privacy terms in this Information Practices Schedule. The Supplier acknowledges that any breach of these practices will result in the Purchaser suffering irreparable harm.
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Fire Inspection Pricing.xlsx
Property Listing

		Site Code		Property #		Town		Postal Code		Region		Site Type		Year Built
		Sq. Ft		Sq. Meters
0.092903		Sprinkler Information		Number of Fire Extinguishers 		Number of Smoke Detectors		Number of Carbon monoxide Detectors		Number Of Exits 		Number of Ramps		Number of Floors

		AMAN		1		Orangeville		L9W 2K2		Central		Residential		1995		1642 sq.ft		152		N/A		6		13		5		4		0		2

		AMAR		2		Grand Valley		L0N 1G0		Central		Residential		1994		2360 sq.ft		219		Yes, 13R upgraded		6		15		3		4		1		3

		BCHU		3		Brampton		L6V 1G4		Central		Residential		1870		3400 sq.ft		316		Yes, 13D		10		15		3		6		2		3

		BELW		4		West Garafraxa		N0B 1J0		Central		Residential		2000		5096 sq.ft		474		Yes, 13D		9		36		combo w. smoke		10		1		1 +basement

		BRAE		5		Brampton		L6T 2L5		Central		Residential		1964		1574 sq.ft		146		Yes, 13D		3		16 (11 are dual smoke/carbon and 5 are battery not hardwired)		12 (11 are duo with smoke and 1 is standard plug in)		3		0		3

		CERE		6		Mississauga		L5R 2S6		Central		Residential		1988		2325 sq.ft		216		Yes		3		7		7		4		0		3

		CRED		7		Orangeville		L9W 4T3		Central		Residential		1994		2037 sq.ft		189		upgrade to NFPA 13R in progress		4		9		3		3		0		3

		DALZ		8		Brampton		L6Z 4N9		Central		Residential		1981		2033 sq.ft				Yes, 13D		3		10		3		2		0		3

		EABA		9		Barrie		L4N 6S7		Central		Office		N/A		733 sq.ft		68		N/A		1		1		1		1		0		1

		ELUT		10		Grand Valley		L9W 0V9		Central		Residential		1993		1760 sq.ft		164		Yes, 13D		5		11		combo w. smoke		6		0		1 +basement

		EMBL		11		Brampton		L6X 0E9		Central		Residential		1930		1374 sq.ft		128		N/A		4		6		6		2		1		3

		EMBS		12		Brampton		L6X 0C8		Central		Residential		1967		1918 sq.ft		178		N/A		4		6		6		3		0		3

		ESRC		13		Brampton		L6Y 1V7		Central		Residential		1920		1381 sq.ft		128		Yes		3		4		2		3		0		3

		FIFT		14		Orangeville		L9W 2E2		Central		Residential		1860		3717 sq.ft		345		Yes, 13D		4		10		4		4		0		3

		FIRS		15		Orangeville		L9W 1H7		Central		Residential		1930		2564 sq.ft		179		Yes, 13D		5		11		4		3		0		3

		KERR		16		Orangeville		L9W 2E4		Central		Residential		1991		2877 sq.ft		267		Yes, 13D		5		12		3		4		0		3

		LEAD		17		Mono		update		Central		Residential		1959		1836 sq. ft		115		Yes, 13D		3		7 (only 1 downstairs, may change post renovation)		3		6 (1 more egress to come)		1		2

		LISA		18		Orangeville		L9W 4P6		Central		Residential		1992		2521 sq.ft		185		Yes, 13D		4		7		3		3		0		3

		MCLA		19		Caledon		L0N 1C0		Central		Residential		1963						Yes, 13D		4		20 (5 are dual smoke/carbon)		5 (all duo with smoke)		7		0		2

		MONO		20		Mono		L9W 2Z1		Central		Residential		1987		1711 sq.ft		159		Yes, 13D		4		13		2		3		2		2

		NCRH		21		Mono		L9W 5N9		Central		Residential		1969		1359 sq.ft		126		Yes, 13D		4		3		3		3		1		2

		NEW		22		Orangeville		L9W 1K1		Central		Office		N/A		5316 sq.ft		494				6		4		2		3		0		2

		NEWB		23		Brampton		L6S 5L6		Central		Residential		1987		3500 sq.ft		325		Yes, B3		3		15		15		3		0		3

		ORAN		24		Orangeville		L9W 1N5		Central		Residential		1986		2032 sq.ft		189		N/A		4		6		2 (one in basement smoke detectors)		6 with 1 egress window		0		3

		WATS		25		Brampton		L6W 1E5		Central		Residential		1964						Yes		3		8		8		4		0		3

		WCAD		26		Guelph		N1E 2Y1		Central		Office		N/A		3100 sq.ft		288		Yes		3		2		1		2		1		1

		WRAD		27		Brampton		L7A 1A6		Central		Office		N/A		4800 sq.ft		446		yes (done by landlord)		4		2		0		3		1		1

		BALM		28		Pickering		L0B 1A0		East   		Residential		1987		2987 sq.ft		278		Yes, 13R		3		10		10		3		0		2

		C149		29		Tweed		K0K 3H0		East   		Residential		1900		1347 sq.ft		125		Yes		3		5		5		2		1		2

		C153		30		Tweed		K0K 3H0		East   		Residential		1900		1415 sq.ft		131		Yes		3		5		5		2		1		1

		COCH		31		Whitby		L1N 5J7		East   		Residential		1970		2240 sq.ft		208		Yes		5		12		3		3		1		3

		COLL		32		Newmarket		L3Y 8G5		East   		Residential		1990		2957 sq.ft		275		Yes, 13D + Alternative Solution		9		16		3		4		N/A		2

		DDAY           		33		Durham		L1J 8P8		East   		Office		N/A		2695.93 sq.ft		250		N/A		3		5		1		2		0		1 (unit is on the second floor of a shared building)

		DOAN		34		East Gwillimbury		L0G 1V0		East   		Residential		2002		2967 sq.ft		276		Yes		7		19		8		5		1		3

		GAVE		35		Belleville		K8N 4Z5		East   		Residential		2007		1649 sq.ft		151		Yes		4		8		8		4		0		1 + basement

		GRAY		36		Centre Hastings		K0K 2Y0		East   		Residential		1989		1024 sq.ft		95		Yes		3		9		9		3		0		2

		GWIL		37		(Mount Albert)East Gwillimbury		L0G 1M0		East   		Residential		N/A				0		Yes, 13D		6		8		9		4		0		2

		HEMM		38		Whitby		L1R 1E8		East   		Residential		1986		2219 sq.ft		206		Yes, 13D		4		13		6		2		1		3

		HOLB		39		(Queensville)East Gwillimbury		L0G 1R0		East   		Residential		1986		2188 sq. ft		203		Yes, 13D		6		14		5		5		N/A		1

		HOME		40		Georgina		L0E 1R0		East   		Residential		1964		2559 sq.ft		238		Yes		7		16		6		6		N/A		1

		HRMY		41		Belleville (Corbyville)		K0K 1V0		East   		Residential		2004		4,575		179		to be scheduled		11		27		27		8		0		2

		MCIN		42		Newmarket		L3Y 8B7		East   		Residential		1988		3231 sq.ft		300		Yes, 13D + Alternative Solution		10		19		3		4		N/A		2

		REID		43		Hastings		K0K 2K0		East   		Residential		1995		1590 sq.ft		148		Yes		5		15		13		5		0		1 + basement

		SADM		44		Tweed		K0K 3J0		East   		Office				3600 sq.ft.		204		Yes		3		3		1		2		0		1

		SADM		45		Belleville		K8P 3Z3		East   		Office		N/A		500 sq ft		172		Yes		1		1		1		1		1		2

		SIDE 		46		Bradford		L3Z 2A5		East   		Residential		1978						Yes, 13R		6		7		5		3		0		2

		SIDY		47		Belleville		K8P4X1		East   		Residential		N/A		N/A		N/A		yes 		2		2		2		1 apartment door/ 4 exit from the bottom floor 		0		10 apartment building

		SYDN           		48		Belleville		K8P 4X1		East   		Residential		N/A		N/A		N/A		2		3		2		1 apartment door/ 4 exit from the bottom floor 		0		10 apartment building

		TCWA		49		(Queensville)East Gwillimbury		L0G 1R0		East   		Residential		1996						Yes		12		24		6		5		0		2

		THOM		50		Centre Hastings		K0K 3H0		East   		Residential		1982						Yes, 13R		6		15		15		3		1		2

		THOM		51		Centre Hastings		K0K 3H0		East   		Residential		1827						Yes, 13R		4		7		11		4		0		2+ basement

		THOM		52		Centre Hastings		K0K 3H0		East   		Residential		1978						Yes, 13R		7		19		19		5		0		2 + basement

		AMOR		53		Toronto		M9W 4S4		Toronto		Residential		1960		1051 sq.ft		98		N/A		2		7		7		2		0		1

		BRID		54		Toronto		M1H 2L4		Toronto		Residential		1965		1237 sq.ft		115		Yes		4		10		8		3		0		3

		CHAL		55		Toronto		M2J 3V3		Toronto		Residential		1971		2237 sq.ft		208		Yes		4		8		2		3		0		3

		DARC		56		Scarborough		M1C 2T5		Toronto		Residential		1970		1415 sq.ft		131		Yes		4		4		4		3		0		2

		HARV		57		Toronto		M6R 1C5		Toronto		Residential		1900		2103 sq.ft		195		N/A		6		4		9		5		0		4

		HOLM		58		Toronto		M1C 1V7		Toronto		Residential		N/A		1115 sq.ft				N/A		5		8		4		2 plus one egress window		0		2

		MALA		59		Toronto		M1T 2C7		Toronto		Residential		1960		2193 sq.ft		204		Yes 		4		5		5		2		0		3

		MOUN           		60		Toronto		M1G 2P2		Toronto		Residential		1958		1035 sq.ft		96		Yes, 13R upgraded		2		6		2		3		0		1

		NCLF		61		Toronto		M6E 3K9		Toronto		Residential		1937		4006 sq.ft		372		Yes		10		22		22		3		0		2

		NEAP		62		Scarborough		M1P 4B1		Toronto		Residential				1090 sq.ft				Yes, 13R		5		9		2		2		0		2

		RING		63		Toronto		M9W 1X3		Toronto		Residential		1964		1432 sq.ft		200		Yes		2		10		10		3		0		1

		RUSH		64		Toronto		M6H 2Z5		Toronto		Residential		1890		1871 sq.ft		174		Yes		2		6		8		1		0		2

		SHOR		65		Toronto		M1G 3T1		Toronto		Residential		1972		1073 sq.ft		100		Yes		3		9		9		2		0		2

		TABA           		66		Toronto		M3B 2T5		Toronto		Office		N/A		3027 sq.ft		281		N/A		3		0		0		3		0		1

		TABA           		67		Toronto		M3B 2T5		Toronto		Office		N/A 		N/A 		N/A		Yes 		3		4		3		2		0		1

		TADM           		68		Toronto		M3B 2T5		Toronto		Office		N/A		5440 sq.ft		505		N/A		5		0		0		3		0		1

		WELS		69		Toronto		M9C 4S7		Toronto		Residential		N/A						No		4 Upper level, 2 Lower level		5		4		1 upper level, 2 lower level		0		2 upper level, 2 Lower level





Property 1 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 2 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 3 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 4 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 5 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 6 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 7 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 8 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 9 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 10 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 11 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 12 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 13 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 14 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 15 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 16 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 17 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 18 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 19 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 20 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 21 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 22 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 23 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 24 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 25 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 26 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 27 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 28 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 29 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 30 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 31 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 32 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 33 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 34 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 35 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 36 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 37 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 38 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 39 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 40 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 41 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 42 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 43 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 44 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 45 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 46 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 47 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 48 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 49 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 50 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 51 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 52 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 53 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 54 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 55 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 56 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 57 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 58 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 59 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 60 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 61 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 62 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 63 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 64 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 65 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 66 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 67 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 68 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 





Property 69 Pricing

																Optioned Extension												Optioned Extension

		Service / Item		Frequency		Estimated Qty.		Unit		Unit Price ($) - Year 1		Unit Price ($) - Year 2		Unit Price ($) - Year 3		Unit Price ($) - Year 4		Unit Price ($) - Year 5		Unit Price ($) - Year 6		Extended Price - Year 1 ($)		Extended Price - Year 2 ($)		Extended Price - Year 3 ($)		Extended Price - Year 4 ($)		Extended Price - Year 5 ($)		Extended Price - Year 6 ($)		Notes / Assumptions

		Fire extinguisher inspection & maintenance		Annual		 		Each		 		 								 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher recharge		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire extinguisher hydrostatic testing		As required		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Emergency lighting inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Exit sign inspection/testing		Annual		 		Each		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire alarm system maintenance/repairs		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		Hourly labour rate

		Sprinkler system inspection		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Sprinkler system testing/maintenance		As required		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Backflow prevention testing		Annual		 		Device		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Kitchen suppression system inspection		Semi-annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire pump inspection/testing		Annual		 		System		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Fire safety plan review/update		Annual		 		Plan		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Deficiency identification/reporting		Included		 		Service		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Hourly Labour Rates		As Required		 		Hour		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		After-hours/emergency service		As required		 		Hour		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Travel/mobilization		As required		 		Visit		  										  		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Replacement Parts (mark-up)		As required		 		Each		 												ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

		Other:		 		 		 		 										 		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!		ERROR:#VALUE!

						 






